PROFICIENCY TEST	BIOGASOLINE E85  iis10B02-E85	2010

# Report form for analysis results of sample #1046

Report to: 	ing. R.J. Starink 	before May 28, 2010

fax.  + 31 181 69 4543 or email iisnl@sgs.com (preferred)

| Determinations | Unit | Reference method (**) | Actual method used(**) | Unrounded result #1046 | Result #1046 cfr. used standard |
| --- | --- | --- | --- | --- | --- |
| Acidity as acetic acid | %M/M | EN15491 |  |  |  |
| Aliphatic ether blend content |
| - Methanol | %V/V | EN1601 |  |  |  |
| - Higher saturated monoalcohols (C3-C8) | %V/V | EN1601 |  |  |  |
| - Ethers (C5 - Higher) | %V/V | EN1601 |  |  |  |
| - Oxygen content | %M/M | EN1601 |  |  |  |
| Copper | mg/kg | EN15488 |  |  |  |
| Copper strip 3hrs/50°C | rating | ISO2160 / D130 |  |  |  |
| Density @15°C | kg/m3 | ISO12185 |  |  |  |
| Ethanol content | %M/M | D5501 |  |  |  |
| Ethanol content | %V/V | D5501 |  |  |  |
| Existent gum (washed) | mg/100ml | ISO6246 |  |  |  |
| Inorganic Chloride | mg/L | EN15492 |  |  |  |
| Oxidation Stability 1) | minutes | ISO7536 / D525 |  |  |  |
| pHe |  | EN15490 |  |  |  |
| Phosphorous | mg/L | EN15487 |  |  |  |
| Sulphur | mg/kg | EN15486 |  |  |  |
| Water | %M/M | EN15489 |  |  |  |

1) Only report ”>” when above 900 minutes, otherwise report a real breakpoint

(**) See instructions

Name of laboratory:	Date of sample receipt:

Country:	City:

Name of contact person:	Date of report:

Instructions to participants for the Interlaboratory Study Biogasoline E85 iis10B02-E85

*	Please confirm sample receipt as soon as you have received and checked the contents of this package, preferably using the fax form that you receive together with this package. Please complete the form and send it to i.i.s. (faxno. + 31 181 69 4543 or email iisnl@sgs.com).

If the bottle has been broken or has been leaking please do not accept the package from the courier. A new sample is on account of the courier. When the bottle has been leaking, please report this as soon as possible.

*	Please record the date that the sample was received on the report form.

*	This interlaboratory study concerns one sample of Biogasoline E85 (1 litre of sample #1046). Please treat the sample as if it was a routine sample.

*	Each laboratory is requested to analyse the sample in the way it would normally do in day-to-day circumstances. Furthermore, each laboratory is advised to perform only those analyses you routinely do (but you are allowed to do all analyses if you like). It might be wise to start with those tests which are most important to your laboratory, especially if the supplied sample amount seems to be critical for your lab.

*	Report the analytical results using the indicated units on the report form. Report in the last column the analytical results, rounded in accordance with the standard method that was used. Report in the first result column the same analytical results but less rounded (we suggest to report one extra figure) in order to give more meaningful statistical calculations. 	For example, when you use ASTM D4052 for the determination of density and you found a result of 0.78517 kg/L, we request you to report 0.7852 kg/L in accordance with ASTM D4052 and 0.78517 kg/L as ‘unrounded’ result.

*	On the report form an extra column is added on request of several participants. This column is named: ”reference method”. In this column the method is mentioned, which the Institute for Interlaboratory Studies will use for calculating the z-scores. It is of utmost importance to know that the method, which is mentioned, is NOT mandatory. So when you normally use in day-to-day circumstances an other method than the method prescribed in the ”reference method” column, please use your method and note the actual used method in the ”actual method used” column.

*	Please return the completed report form to the Institute for Interlaboratory Studies in Spijkenisse, The Netherlands, preferably one week after sample receipt, but in any case before the indicated closing date: MAY 28, 2010 (preferably by email).

*	If you have any remarks/questions please contact:

ing. R.J. Starink, Institute for Interlaboratory Studies

P.O. box 200, NL-3200 AE Spijkenisse, The Netherlands

tel.no. + 31 181 69 45 41

fax.no. + 31 181 69 45 43

e-mail: iisnl@sgs.com