PROFICIENCY TEST                         ETBE iis10C03E 	2010

Report form B for analysis results on sample #1033 ETBE

# Report to:	R.J.Starink before April 23, 2010

faxno. + 31 181 69 45 43 or e-mail to: iisnl@sgs.com

| Determination | unit | Reference method (**) | Actual method used (**) | ’unrounded’ result #1033 | result #1033 cfr. used standard |
| --- | --- | --- | --- | --- | --- |
| Appearance |  | E2680 |  |  |  |
| Density @ 15 °C | kg/L | D4052 |  |  |  |
| Sulphur | mg/kg | D5453 |  |  |  |
| Nitrogen | mg/kg | D4629 |  |  |  |
| Water | mg/kg | E1064 |  |  |  |
| Purity by GLC (1) | % M/M |  |  |  |  |
| Purity on dry basis GLC (2) | % M/M |  |  |  |  |
| Ethanol | % M/M |  |  |  |  |
| Diisobutylene (= sum 5 DIB’s) | % M/M |  |  |  |  |
| - 2,4,4-trimethyl-1-pentene | % M/M |  |  |  |  |
| - 2,4,4-trimethyl-2-pentene | % M/M |  |  |  |  |
| - 2,3,4-trimethyl-2-pentene | % M/M |  |  |  |  |
| - 3,4,4-trimethyl-1-pentene | % M/M |  |  |  |  |
| - 3,5-dimethyl-1-hexene | % M/M |  |  |  |  |
| tert.butylalcohol | % M/M |  |  |  |  |
| Hydrocarbons C4 | % M/M |  |  |  |  |
| Hydrocarbons C5 | % M/M |  |  |  |  |
| Other hydrocarbons | % M/M |  |  |  |  |
| Unknown impurities (3) | % M/M |  |  |  |  |

(1) Purity is calculated by normalisation after subtraction of the water content.

(2) Purity on dry basis by GLC = 100% - impurities on dry basis

(3) Please report response factor, used for quantification of unknown impurities: _____

# (**) See instructions

Name of laboratory:	Date of sample receipt:

Country:	City:

Name of responsible manager:	Date of report:

Instructions to participants for the interlaboratory study ETBE iis10C03E

*	Please confirm sample receipt as soon as you have received and checked the contents of this package, preferably using the fax form that you receive together with this package. Please complete the form and send it to i.i.s. (faxno. ++ 31 181 69 4543 or email iisnl@sgs.com).

If the bottle has been broken or has been leaking please do not accept the package from the courier.

A new sample is on account of the courier. When the bottle has been leaking, please report this on the fax form.

*	Record the date that the sample was received on the report forms.

*	This interlaboratory study concerns one sample of ETBE (500 mL of sample #1033). Please treat the sample as if it was a routine samples.

*	Each laboratory is requested to analyse the sample in the way it would normally do in day-to-day circumstances. Furthermore, each laboratory is advised to perform only those analyses you routinely do (but you are allowed to do all analysis if you like).

It might be wise to start with those tests which are most important to your laboratory, especially if the supplied sample amount seems to be critical for you lab.

*	Report the analytical results using the indicated units on the report form. Report in the last column the analytical results, rounded in accordance with the standard method that was used. Report in the first result column the same analytical results but less rounded (we suggest to report one extra significant figure) in order to give more meaningful statistical calculations.

For example, when you use ASTM D4052 for the determination of Density and you found a result of 0.71234 g/mL, we request you to report 0.7123 g/mL in accordance with ASTM D4052 and 0.71234 g/mL as ‘unrounded’ result.

# *	On the report form an extra column is added on request of several participants.

# This column is named: ”reference method”. In this column the method is mentioned, which the Institute for Interlaboratory Studies will use for calculating the z-scores. It is of utmost importance to know that the method, which is mentioned, is NOT mandatory.

So when you normally use in day-to-day circumstances an other method than the method prescribed in the ”reference method” column, please use your method and note the actual used method in the ”actual method used” column.

*	Report also the method used on the report form.

*	Return the completed report form(s) to the Institute for Interlaboratory Studies at Spijkenisse, The Netherlands, preferably one week after sample receipt, but in any case before the indicated closing date: APRIL 23, 2010 (preferably by fax).

*	If you have any remarks/questions please contact:

ing. R.J. Starink, Institute for Interlaboratory Studies

P.O. box 200, NL-3200 AE Spijkenisse, The Netherlands

tel.no. ++ 31 181 694540 or ++ 31 181 694541

fax.no. ++ 31 181 694543

e-mail: iisnl@sgs.com