INTERLABORATORY STUDY    	STYRENE MONOMER  iis10C08                                 2010

# Report form A for analysis results of sample #1058

# Report to: Ing. R.J. Starink before October 8, 2010       	 faxno. + 31 181 69 45 43 or email iisnl@sgs.com

| Determination | Unit | Reference method (**) | Actual method used (**) | Unrounded result #1058 | result #1058 rounded cfr. used standard |
| --- | --- | --- | --- | --- | --- |
| Aldehydes as benzaldehyde 1) | mg/kg | D2119 |  |  |  |
| Appearance |  | E2680 |  |  |  |
| Colour Pt/Co |  | D1209 |  |  |  |
| Inhibitor | mg/kg | D4590 |  |  |  |
| Density at 20ºC | kg/l | D4052 |  |  |  |
| Peroxides as H2O2 | mg/kg | D2340 |  |  |  |
| Polymer | mg/kg | D2121 |  |  |  |
| Organic Chloride | mg/kg |  |  |  |  |
| Sulphur | mg/kg | D5453 |  |  |  |
| Purity | %M/M | D5135 |  |  |  |
| Water | mg/kg | E1064 |  |  |  |
| Impurities |
| * benzene | mg/kg | - |  |  |  |
| * ethylbenzene | mg/kg | D5135 |  |  |  |
| * m+p-xylenes | mg/kg | D5135 |  |  |  |
| * cumene | mg/kg | D5135 |  |  |  |
| * o-xylene | mg/kg | D5135 |  |  |  |
| * n-propylbenzene | mg/kg | D5135 |  |  |  |
| * m+p-ethyltoluenes | mg/kg | D5135 |  |  |  |
| * α-methylstyrene | mg/kg | D5135 |  |  |  |
| * 1,2-diethylbenzene | mg/kg | - |  |  |  |
| * phenylacetylene | mg/kg |  |  |  |  |
| * 3/4-methylstyrenes | mg/kg | - |  |  |  |
| * benzaldehyde | mg/kg | - |  |  |  |
| * non-aromatics 2) | mg/kg | - |  |  |  |

1) Please give the details of this test on the next page. Please also take care that unrounded values must be used for calculations. Please see the reports for the styrene rounds iis06C08 and iis07C10, which show figures rounded too far before calculations will lead to large spreads.

2) Please report response factor, used for quantification of unknown impurities: _____

and please add a copy of the chromatogram in which you indicate the different components that you report under "non-aromatics".

(**) See letter of instructions

Name of laboratory:	Date of sample receipt:

Country:	City:

Name of Contact person:	Date of report:

INTERLABORATORY STUDY        	STYRENE MONOMER  iis10C08                                2010

# Report form A for analysis results of sample #1058 (continued)

# Report to:Ing. R.J. Starink before OCTOBER 8, 2010	faxno. + 31 181 69 45 43 or email: iisnl@sgs.com

1)  Please report the following parameters according to ASTM D2119:

- the date that this test was performed								: _____________

- the preparation date of the Hydroxylamine Hydrochloride Solution			: _____________

- Did you order a ready-to-use indicator solution						    yes/no

- the manufacturer of the Indicator								: _____________

- the batch number of the Indicator								: _____________

- the chemical name of the Indicator which was used (also its salt form)	:

- the preparation date of the Indicator Solution							: _____________

- the solvent used for the Indicator Solution							: _____________

- Did you apply caustic for solving (ie. NaOH or other) 				    yes/no

- the dilution of the Indicator Solution				Amount of indicator	: _____________

Amount of solvent		: _____________

- the amount of Indicator Solution added to the sample solution				: _____________

- the volume of NaOH or HCl used before adding the Hydroxylamine Hydrochloride Solution

for the original red-yellow end point (ml) 						NaOH	: _____________

HCl	: _____________

- the total volume of NaOH used after 1 hour (ml) Step 1					: _____________

- the total volume of NaOH used after 2 hours (ml) Step 2					: _____________

- the total volume of NaOH used for the blank of Methanol (ml) 				: _____________

- the normality of the NaOH solution used (N)							: _____________

Name of laboratory:	Date of sample receipt:

Country:	City:

Name of Contact person:	Date of report:

# Instructions to participants for the interlaboratory study Styrene Monomer iis10C08

*	Please confirm sample receipt as soon as you have received and checked the contents of this package, preferably using the fax form that you receive together with this package. Please complete the form and return it to i.i.s. (faxno. + 31 181 69 45 43 or email iisnl@sgs.com)

If the bottle has been broken or has been leaking please do not accept the package from the courier. A new sample are on account of the courier. When the bottle has been leaking please report this as soon as possible.

*	Please record the date that the sample was received on the report forms (A and B).

*	This interlaboratory study concerns 1 sample styrene monomer (a 500 ml glass bottle, labelled #1058). Please treat each sample as if it was a routine sample.

*	Each laboratory is requested to analyse the sample in the way it would normally do in day-to-day circumstances. Furthermore, each laboratory is advised to perform only those analyses you routinely do (but you are allowed to do all analyses if you like). It might be wise to start with those tests which are most important to your laboratory, especially if the supplied sample amount seems to be critical.

*	Report the analytical results using the indicated units on the report form. Report in the last column the analytical results, rounded in accordance with the standard method that was used. Report in the first result column the same analytical results but less rounded (we suggest to report one extra significant figure) in order to give more meaningful statistical calculations.

For example, when you use ASTM D4590 for the determination of Inhibitor and you found a result of 12.34 mg/kg, we request you to report 12 mg/kg in accordance with ASTM D4590 and 12.3 mg/kg as ‘unrounded’ result.

# *	On the report form an extra column is added on request of several participants.

# This column is named: “reference method”. In this column the method is mentioned, which the Institute for Interlaboratory Studies will use for calculating the z-scores. It is of utmost importance to know that the method, which is mentioned, is NOT mandatory. So when you normally use in day-to-day circumstances an other method than the method prescribed in the ”reference method” column, please use your method and note the actual used method in the ”actual method used” column.

*	Please report the methods used on the report form. If no Standard method is used, report 'in house' method or report the official standard method on which it is based with the remark 'mod' (modified).

*	Please return the completed report forms to the Institute for Interlaboratory Studies in Spijkenisse, The Netherlands, preferably one week after sample receipt, but in any case before the indicated closing date: OCTOBER  08, 2010 (preferably by email).

*	If you have any remarks/questions please contact:

ing. R.J. Starink, Institute for Interlaboratory Studies

P.O. box 200, NL-3200 AE Spijkenisse, The Netherlands

tel.no. + 31 181 694541

fax.no. + 31 181 694543

e-mail: iisnl@sgs.com