INTERLABORATORY STUDY           o-XYLENE and p-XYLENE   iis10C09 		         2010

Report form A for analysis results of #1060 o-XYLENE

Report to:	R.J.Starink 								before October 8, 2010

fax. + 31 181 694543 or email: iisnl@sgs.com

| Determination | Unit | Reference Method (**) | Actual Method (**) | unrounded result #1060 | result #1060 cfr. used standard |
| --- | --- | --- | --- | --- | --- |
| Purity |
| * o-xylene | %M/M | D3797 |  |  |  |
| * p-xylene | %M/M | D3797 |  |  |  |
| * m-xylene | %M/M | D3797 |  |  |  |
| * Ethylbenzene | %M/M | D3797 |  |  |  |
| * Styrene | %M/M | D3797 |  |  |  |
| * Sum of Ethyltoluenes | %M/M |  |  |  |  |
| * n-Propylbenzene | %M/M |  |  |  |  |
| * iso-Propylbenzene (Cumene) | %M/M | D3797 |  |  |  |
| * Toluene | %M/M | D3797 |  |  |  |
| * Other aromatics | %M/M | D3797 |  |  |  |
| * Non aromatics | %M/M | D3797 |  |  |  |

(**) See instructions

Name of laboratory:	Date of sample receipt:

Country:	City:

Name of contact person:	Date of report:

INTERLABORATORY STUDY           o-XYLENE and p-XYLENE   iis10C09 		         2010

Report form B for analysis results of #1061 p-XYLENE

Report to:	R.J.Starink 								before October 8, 2010

fax. + 31 181 694543 or email: iisnl@sgs.com

| Determination | Unit | Reference Method (**) | Actual Method (**) | unrounded result #1061 | result #1061 cfr. used standard |
| --- | --- | --- | --- | --- | --- |
| Appearance | --- | E2680 |  |  |  |
| Colour Pt/Co | --- | D1209 |  |  |  |
| Density at 20°C | kg/L | D4052 |  |  |  |
| Distillation range | Automatic or Manual A / M *) |
| * Initial Boiling Point | °C | D850 |  |  |  |
| * 50% recovered | °C | D850 |  |  |  |
| * Dry Point | °C | D850 |  |  |  |
| Organic chloride | mg/kg | UOP779 |  |  |  |
| Purity |
| * p-Xylene | %M/M | D3798 1) |  |  |  |
| * Non-aromatics | %M/M | D3798 1) |  |  |  |
| * Toluene | %M/M | D3798 1) |  |  |  |
| * Styrene | %M/M |  |  |  |  |
| * Ethylbenzene | %M/M | D3798 1) |  |  |  |
| * m-Xylene | %M/M | D3798 1) |  |  |  |
| * o-Xylene | %M/M | D3798 1) |  |  |  |
| Sulphur | mg/kg | D7183 |  |  |  |

*) please circle the correct option

(**) See instructions

1) Although, test method ASTM D3798 is not longer maintained by ASTM since 2009, the results will still be evaluated against the ASTM D3798. However, the new required test methods ASTM D5917 and D7504 will also be included in the evaluation.

Name of laboratory:	Date of sample receipt:

Country:	City:

Name of contact person:	Date of report:

# Instructions to participants for the p- and o-Xylene Round Robin iis10C09

*	Please confirm sample receipt as soon as you have received and checked the contents of this package, preferably using the fax form that you receive together with this package. Please complete the form and return it to i.i.s. (faxno. ++ 31 181 694543 or email iisnl@sgs.com).

If bottles have been broken or have been leaking please do not accept the package from the courier. New samples are on account of the courier. When the bottles have been leaking please report this as soon as possible.

*	Please record the date that the samples were received on the report forms (A and B).

*	This interlaboratory study concerns 1 sample o-Xylene (250 mL of sample #1060) and 1 sample

p-Xylene (500 mL of sample #1061).  Please treat the sample as if they were routine samples.

*	Each laboratory is requested to analyse the samples in the way it would normally do in day-to-day circumstances. Furthermore, each laboratory is advised to perform only those analyses you routinely do (but you are allowed to do all analyses if you like). It might be wise to start with those tests which are most important to your laboratory, especially if the supplied sample amount seems to be critical.

*	Report the analytical results using the indicated units on the report form. Report in the last column the analytical results, rounded in accordance with the standard method that was used. Report in the first result column the same analytical results but less rounded (we suggest to report one extra significant figure) in order to give more meaningful statistical calculations.

For example, when you use ASTM D3797 for the determination of m-xylene and you found a result of 0.76133 weight %, we request you to report 0.761 weight % in accordance with ASTM D3797 and 0.7613 weight % as ‘unrounded’ result.

*	On the report forms an extra column is added on request of several participants.

This column is named: ”reference method”. In this column the method is mentioned, which the Institute for Interlaboratory Studies will use for calculating the z-scores. It is of utmost importance to know that the method, which is mentioned, is NOT mandatory. So when you normally use in day-to-day circumstances an other method than the method prescribed in  the ”reference method” column, please use your method and note the actual used method in the ”actual method used” column.

*	Please report the methods used on the report form. If no Standard method is used, report 'in house' method or report the official standard method on which it is based with the remark 'mod' (modified).

*	Please return the completed report forms to the Institute for Interlaboratory Studies in Spijkenisse, The Netherlands, preferably one week after sample receipt, but in any case before the indicated , closing date: OCTOBER 08, 2010 (preferably by email).

*	If you have any remarks/questions please contact:

ing. R.J.Starink, Institute for Interlaboratory Studies

P.O. box 200, NL-3200 AE Spijkenisse, The Netherlands

tel.no. ++ 31 181 694541

fax.no. ++ 31 181 694543

e-mail: iisnl@sgs.com