INTERLABORATORY STUDY     BIODIESEL 100% FAME (B100) iis10G02	2010

(according specifications EN14214 and ASTM D6751)

Report form A for analysis results on sample #1036

# Report to:	Mr. R.J.Starink before May 7, 2010 faxno. + 31 181 69 45 43 or email iisnl@sgs.com (preferred)

| Determination | unit | Reference method (**) | Actual method used (**) | ’unrounded’ result #1036 | result #1036 cfr. used standard |
| --- | --- | --- | --- | --- | --- |
| Acid Value | mg KOH/g | EN14104 |  |  |  |
| Acid Number | mg KOH/g | D664 |  |  |  |
| Carbon Residue (*) | %M/M | ISO10370 |  |  |  |
| CFPP | ºC | EN116 |  |  |  |
| Cloud Point | Automated or Manual mode ?: A / M *** |
| - Cloud Point | °C | D2500 EN23015 |  |  |  |
| Copper Strip Corrosion 3h/50ºC | class | D130 ISO2160 |  |  |  |
| Density @15 ºC | kg/m3 | ISO12185 |  |  |  |
| Flash Point (recc) | ºC | ISO 3679 |  |  |  |
| Flash Point (PMcc) | ºC | D93 ISO2719 |  |  |  |
| Iodine Value | g I2/100g | EN14111 |  |  |  |
| KinematicViscosity @ 40 ºC | mm2/s | D445 ISO3104 |  |  |  |
| Oxidation Stability | hours | EN14112 |  |  |  |
| Sulphur | mg/kg | ISO20846 |  |  |  |
| Sulphur | mg/kg | D5453 |  |  |  |
| Sulphated Ash | %M/M | D874 ISO3987 |  |  |  |
| Water | mg/kg | ISO12937 |  |  |  |

# (*)  measured on 10% distillation residue (see also specification EN14214:2003)

# (**) the reference methods are NOT mandatory! please see the attached intructions

(***) Please circle the correct option.

Please note that for some determinations both ASTM and EN methods are technical equivalent (eg. Flash Point PMcc).

Name of laboratory:	date of sample receipt:

Country:	City:

Name of responsible manager:	date of report:

INTERLABORATORY STUDY     BIODIESEL 100% FAME (B100) iis10G02 	2010

(according specifications EN14214 and ASTM D6751)

Report form B for analysis results on sample #1036

# Report to:	Mr. R.J.Starink before May 7, 2010 faxno. + 31 181 69 45 43 or email iisnl@sgs.com (preferred)

| Determination | unit | Reference method (**) | Actual method used (**) | ’unrounded’ result #1036 | result #1036 cfr. used standard |
| --- | --- | --- | --- | --- | --- |
| Mineral content |
| Calcium & Magnesium | mg/kg | EN14538 |  |  |  |
| Phosphorus | mg/kg | EN14107 |  |  |  |
| Sodium | mg/kg | EN14108 |  |  |  |
| Potassium | mg/kg | EN14109 |  |  |  |
| Composition by GC |
| Methanol | %M/M | EN14110 1) |  |  |  |
| Monoglycerides | %M/M | EN14105 |  |  |  |
| Diglycerides | %M/M | EN14105 |  |  |  |
| Triglycerides | %M/M | EN14105 |  |  |  |
| Free Glycerol | %M/M | EN14105 |  |  |  |
| Total Glycerol | %M/M | EN14105 |  |  |  |
| Total Ester Content | %M/M | EN14103 |  |  |  |
| Linolenic Acid Methyl Ester | %M/M | EN14103 |  |  |  |

# 1) Please encirle which method you used to determine Methanol      :   A or B

# (**) the below methods are NOT mandatory! please see the attached intructions

Name of laboratory:	date of sample receipt:

Country:	City:

Name of responsible manager:	date of report:

Instructions to participants for the interlaboratory study BIODIESEL 100% FAME (B100) iis10G02

*	Please confirm sample receipt as soon as you have received and checked the contents of  this package, preferably using the fax form that you receive together with this package. Please complete the form and send it to i.i.s. (email iisnl@sgs.com or faxno. ++ 31 181 69 45 43). If bottles have been broken or have been leaking  please do not accept the package from the courier. New samples are on account of the courier. When the bottles have been leaking, please report this on the fax form.

*	Please records the date that the samples were received on the report form.

*	This interlaboratory study concerns two identical samples (one bottle of 1 L and one bottle of 500 mL, sample #1036). Please treat the samples as if they were routine samples.

*	Each laboratory is requested to analyse the samples in the way it would normally do in day-to-day circumstances. Furthermore, each laboratory is advised to perform only those analyses you routinely do (but you are allowed to do all analysis if you like). It might be wise to start with those tests which are most important to your laboratory, especially if the supplied sample amount seems to be critical for you lab.

*	Report the analytical results using the indicated units on the report form. Report in the last column the analytical results, rounded in accordance with the standard method that was used. Report in the first result column the same analytical results but less rounded (we suggest to report one extra significant figure) in order to give more meaningful statistical calculations.

For example, when you use ASTM D4052 for the determination of Density and you found a result of 0.88477 kg/L, we request you to report 0.8848 kg/l in accordance with ASTM D4052 and 0.88477kg/L as ‘unrounded’ result.

# *	On the report form an extra column is added on request of several participants. This column is named: ”reference method”. In this column the method is mentioned, which the Institute for Interlaboratory Studies will use for calculating the z-scores. It is of utmost importance to know that the method, which is mentioned, is NOT mandatory. So when you normally use in day-to-day circumstances an other method than the method prescribed in the ”reference method” column. Please use your method and report the actual used method in the ”actual method used” column.

*	Return the completed report form(s) to the Institute for Interlaboratory Studies at Spijkenisse, The Netherlands, preferably one week after sample receipt, but in any case before the indicated closing date: MAY 7, 2010 (preferably by email).

*	If you have any remarks/questions please contact:

ing. R.J. Starink, Institute for Interlaboratory Studies

p.o. box 200, NL-3200 AE Spijkenisse, The Netherlands

tel.no. ++ 31 181 69 45 41 or ++ 31 181 69 45 40

faxno. ++ 31 181 69 45 43

email: iisnl@sgs.com