PROFICIENCY TEST                              GASOIL B10 iis10G03 	2010

Report form A for analysis results of sample #1039

(according the scope from ASTM D7467 and EN590)

Report to: 	ing. R.J. Starink 						           before MAY 14, 2010

fax.  + 31 181 69 4543 or email iisnl@sgs.com (preferred)

| Determination | Unit | Reference method (**) | Actual method used (**) | Unrounded result #1039 | result #1039 cfr. used standard |
| --- | --- | --- | --- | --- | --- |
| Ash content | %M/M | D482 ISO6245 |  |  |  |
| Aromatics by FIA | % V/V | D1319 |  |  |  |
| Cetane Index |  | D613 |  |  |  |
| Cetane Index |  | ISO4264 |  |  |  |
| Cloud Point | ºC | D2500 EN23015 |  |  |  |
| Cold Filter Plugging Point | ºC | EN116 |  |  |  |
| Conradson Carbon Residue on 10% residue | %M/M | ISO10370 |  |  |  |
| Ramsbottom Carbon Residue on 10% residue | %M/M | D524 |  |  |  |
| Copper corrosion 3hrs@50 oC | rating | D130 ISO2160 |  |  |  |
| Density @ 15°C | kg/m3 | D4052 ISO12185 |  |  |  |
| FAME content | % V/V | D7371 EN14078 |  |  |  |
| Flash Point PMcc | Automatic / Manual: A / M 1) Flame / Electr. mode: F / E 1) |
| * Flash Point PMcc | °C | D93 ISO2719 |  |  |  |
| Kinematic viscosity @40°C | mm2/s | D445 ISO3104 |  |  |  |
| Lubricity by HFRR | µm | D6079 ISO12156 |  |  |  |

1) please circle the correct option

(**) Please see instructions

Please note that for some determinations both ASTM and EN methods are technical equivalent (eg. Flash Point PMcc).

Name of laboratory:	Date of sample receipt:

Country:	City:

Name of contact person:	Date of report:

PROFICIENCY TEST                            GASOIL B10 iis10G03	2010

Report form B for analysis results of sample #1039

(according de scope of ASTM D7469 and EN590)

Report to: 	ing. R.J. Starink 							  before MAY 14, 2010

fax.  + 31 181 69 4543 or email iisnl@sgs.com (preferred)

| Determination | unit | Reference method (**) | Actual method used (**) | Unrounded result #1039 | Result #1039 cfr. used standard |
| --- | --- | --- | --- | --- | --- |
| Oxidation stability | Hours | EN14112 EN15751 |  |  |  |
| Oxidation stability | g/m3 | ISO12205 |  |  |  |
| Poly-aromatic hydrocarbons | % M/M | EN12916 |  |  |  |
| Pour Point |  |
| * Pour Point (manual) | °C | D97 |  |  |  |
| * Pour Point (automated) (at 1°C testing intervals) | °C | D5950 |  |  |  |
| Sulphur content | mg/kg | D5453 ISO20846 |  |  |  |
| Total acid number | mgKOH/g | D664 |  |  |  |
| Water content | Coulometric / Titrimetric ?: | C / T 1) |
| Water content | mg/kg | D6304 EN12937 |  |  |  |
| Distillation at 760 mmHg | Manual or Automated mode ? : |  | A / M 1) |
| IBP | °C | D86:09e1 |  |  |  |
| 10% recovered | °C | D86:09e1 |  |  |  |
| 50% recovered | °C | D86:09e1 |  |  |  |
| 90% recovered | °C | D86:09e1 |  |  |  |
| 95% recovered | °C | ISO3405 |  |  |  |
| Volume at 250ºC | %V/V | ISO3405 |  |  |  |
| Volume at 350ºC | %V/V | ISO3405 |  |  |  |
| % residue | %V/V | D86:09e1 |  |  |  |

1) please circle the correct option

(**) Please see instructions

Please note that for some determinations both ASTM and EN methods are technical equivalent (eg. Flash Point PMcc).

Name of laboratory:	Date of sample receipt:

Country:	City:

Name of contact person:	Date of report:

# Instructions to participants for the Interlaboratory Study GASOIL B10 iis10G03

*	Please confirm sample receipt as soon as you have received and checked the contents of  this package, preferably using the fax form that you receive together with this package. Please complete the form and send it to i.i.s. (email iisnl@sgs.com or faxno. ++ 31 181 69 45 43). If bottles have been broken or have been leaking  please do not accept the package from the courier. New samples are on account of the courier. When the bottles have been leaking, please report this on the fax form.

*	Please record the date that the sample was received on the report form.

*	This interlaboratory study concerns two identical samples (one bottle of 1000 mL and one bottle of 500 mL, sample #1039). Please treat the samples as if they were a routine sample.

*	Each laboratory is requested to analyse the sample in the way it would normally do in day-to-day circumstances. Furthermore, each laboratory is advised to perform only those analyses you routinely do (but you are allowed to do all analysis if you like). It might be wise to start with those tests which are most important to your laboratory, especially if the supplied sample amount seems to be critical for you lab.

*	Report the analytical results using the indicated units on the report form. Report in the last column the analytical results, rounded in accordance with the standard method that was used. Report in the first result column the same analytical results but less rounded (we suggest to report one extra significant figure) in order to give more meaningful statistical calculations.

For example, when you use ASTM D4052 for the determination of Density and you found a result of 0.88477 kg/L, we request you to report 0.8848 kg/l in accordance with ASTM D4052 and 0.88477 kg/L as ‘unrounded’ result.

# *	On the report form an extra column is added on request of several participants. This column is named: ”reference method”. In this column the method is mentioned, which the Institute for Interlaboratory Studies will use for calculating the z-scores. It is of utmost importance to know that the method, which is mentioned, is NOT mandatory. So when you normally use in day-to-day circumstances an other method than the method prescribed in the ”reference method” column. Please use your method and report the actual used method in the ”actual method used” column.

*	Return the completed report form(s) to the Institute for Interlaboratory Studies at Spijkenisse, The Netherlands, preferably one week after sample receipt, but in any case before the indicated closing date: MAY 14, 2010 (preferably by email).

*	If you have any remarks/questions please contact:

ing. R.J. Starink, Institute for Interlaboratory Studies

p.o. box 200, NL-3200 AE Spijkenisse, The Netherlands

tel.no. ++ 31 181 69 45 41 or ++ 31 181 69 45 40

faxno. ++ 31 181 69 45 43

email: iisnl@sgs.com