# PROFICIENCY TEST                         NAPHTHA iis10N01 	2010

Report form A for analysis results sample #1023

# Report to:	R.J. Starink before April 16, 2010

fax. + 31 181 69 45 43 or email iisnl@sgs.com

| Determination | Unit | Reference method **) | Actual method used **) | Unrounded result #1023 | result #1023 rounded cfr. used standard |
| --- | --- | --- | --- | --- | --- |
| Colour Saybolt | What filter was used ? : | 0.5 / 1 / 2 *) |
| - Colour Saybolt |  | D156 |  |  |  |
| Copper Corrosion 3hrs@50°C |  | D130 |  |  |  |
| Density @ 15 °C | kg/L | D4052 |  |  |  |
| Distillation | Automated or Manual ? | A / M *) |
| - IBP | °C | D86 |  |  |  |
| - 50% recovered | °C | D86 |  |  |  |
| - FBP | °C | D86 |  |  |  |
| Mercaptans | mg/kg | D3227 |  |  |  |
| Sulphur | mg/kg | D2622 |  |  |  |

*) please circle correct option

**) please see instructions

Name of laboratory:	Date of sample receipt:

Country:	City:

Name of responsible manager:	Date of report:

# PROFICIENCY TEST                         NAPHTHA iis10N01 	2010

Report form B for analysis results of sample #1024

Report to:	R.J. Starink before April 16, 2010

fax. + 31 181 69 45 43 or email iisnl@sgs.com

| Determination | Unit | Reference method **) | Actual method used **) | Unrounded result #1024 | result #1024 rounded cfr. used standard |
| --- | --- | --- | --- | --- | --- |
| Organic chlorides as Cl | mg/kg | D5808 |  |  |  |
| Methanol | mg/kg |  |  |  |  |
| Methyl tert-butyl ether (MTBE) | mg/kg | D6293 |  |  |  |
| DIPE | mg/kg | D6293 |  |  |  |
| TAME | mg/kg | D6293 |  |  |  |
| MEK | mg/kg | D6293 |  |  |  |
| Acetone | mg/kg |  |  |  |  |
| Total Oxygenates | %M/M | D6293 |  |  |  |
| PONA / PIONA / PNA *) |  |
| n-paraffines | %V/V | D5443 |  |  |  |
| i-paraffines | %V/V | D5443 |  |  |  |
| olefines | %V/V | D6293 |  |  |  |
| naphthenes | %V/V | D5443 |  |  |  |
| aromatics | %V/V | D5443 |  |  |  |
| C4 and lighter hydrocarbons | %V/V | D5443 |  |  |  |
| Compounds with bp >200°C | %V/V |  |  |  |  |
| n-paraffines | %M/M | D5443 |  |  |  |
| i-paraffines | %M/M | D5443 |  |  |  |
| olefines | %M/M | D6293 |  |  |  |
| Naphthenes | %M/M | D5443 |  |  |  |
| aromatics | %M/M | D5443 |  |  |  |
| C4 and lighter hydrocarbons | %M/M | D5443 |  |  |  |
| Compounds with bp >200°C | %M/M |  |  |  |  |

# **) Please see instructions

*) Please give the calculation used for conversion of %M/M to %V/V:

Name of laboratory:	Date of sample receipt:

Country:	City:

Name of responsible manager:	Date of report:

Instructions to participants for the interlaboratory study Naphtha iis10N01

*	Please confirm sample receipt as soon as you have received and checked the contents of this package, preferably using the fax form that you receive together with this package. Please complete the form and send it to i.i.s. (faxno. ++ 31 181 69 4543 or email iisnl@sgs.com).

If the bottles have been broken or have been leaking please do not accept the package from the courier.

A new sample is on account of the courier. When the bottles have been leaking, please report this on the fax form.

*	Please record the date that the samples were received on the report form(s).

*	This interlaboratory study concerns 2 different samples of Naphtha (1* 500 mL (labelled #1023) and 1* 100 mL (labelled #1024)). Please treat the samples as if they were routine samples.

*	Each laboratory is requested to analyse the sample(s) in the way it would normally do in day-to-day circumstances. Furthermore, each laboratory is advised to perform only those analyses you routinely do (but you are allowed to do all analysis if you like). It might be wise to start with those tests which are most important to your laboratory, especially if the supplied sample amount seems to be critical for you lab.

*	Report the analytical results using the indicated units on the report form. Report in the last column the analytical results, rounded in accordance with the standard method that was used. Report in the first result column the same analytical results but less rounded (we suggest to report one extra significant figure) in order to give more meaningful statistical calculations.

For example, when you use ASTM D4052 for the determination of Density and you found a result of 0.75285 kg/L, we request you to report 0.7529 kg/l in accordance with ASTM D4052 and 0.75285 kg/L as ‘unrounded’ result.

# *	On report form(s) an extra column is added on request of several participants. This column is named: ”reference method”. In this column the method is mentioned, which the Institute for Interlaboratory Studies will use for calculating the z-scores. It is of utmost importance to know that the method, which is mentioned, is NOT mandatory.

# So when you normally use in day-to-day circumstances an other method than the method prescribed in the ”reference method” column, please use your method and note the actual used method in the ”actual method used” column.

*	Report also the method used on the report form. If no Standard method is used, report 'in house' method, or report the official method on which it is based with the remark 'mod' (modified).

*	Return the completed report form(s) to the Institute for Interlaboratory Studies at Spijkenisse, The Netherlands, preferably one week after sample receipt, but in any case before the indicated closing date: APRIL 16, 2010 (preferably by email).

*	If you have any remarks/questions please contact:

ing. R.J. Starink, Institute for Interlaboratory Studies

P.O. box 200, NL-3200 AE Spijkenisse, The Netherlands

tel.no. ++ 31 181 694540 or ++ 31 181 694541

fax.no. ++ 31 181 694543

e-mail: iisnl@sgs.com