PROFICIENCY TEST                  Natural Gas iis10S01M 	2010

Report form for analysis results of sample #10ME

Report to:	R.J. Starink before April 23, 2010

fax no. + 31 181 69 45 43 or e-mail to: iisnl@sgs.com

Please report the cylinder number: ___________ (the 7-digit number on the back of the plasticized label)

Please report the weight of the cylinder in grams before analysis: ________________________

| Determination | Actual test method used | Preferred minimum of digits | result #10ME in %M/M | result #10ME in %mol/mol |
| --- | --- | --- | --- | --- |
| Composition (Normalized) |
| * Methane |  | ##.### |  |  |
| * Ethane |  | #.### |  |  |
| * Propane |  | #.### |  |  |
| * n-Butane |  | #.### |  |  |
| * iso-Butane |  | #.### |  |  |
| * Carbon dioxide |  | #.### |  |  |
| * Nitrogen |  | #.### |  |  |

| Determination | Unit | Actual method used | ‘Unrounded’ result #10ME | Result #10ME rounded cfr. used standard |
| --- | --- | --- | --- | --- |
| Physical properties (*) |
| Caloric Value (sup) | MJ/m3 |  |  |  |
| Density | kg/m3 |  |  |  |
| Relative Density |  |  |  |  |
| Wobbe index | MJ/m3 |  |  |  |

(*) Physical properties, calculated from normalized data @ 25°C and 101.325 KPa

Additional remarks:

Details of GC-system used (please tick the appropriate box):

o Two packed columns (e.g. mol sieve X13 and Porapak R acc. ISO 6974-3 or ASTM D1945)

o Two columns with backflush (e.g. 2x Chromosorb PAW acc. ISO 6974-4)

o Three columns with switching/backflush (e.g. acc. ISO 6974-5)

o Three capillary columns with switching/backflush (e.g. acc. ISO 6974-6)

o Other, please give details:………..

Name of laboratory:	Date of sample receipt:

Country:	City:

Name of responsible manager:	Date of report:

Instructions to participants for the Natural Gas iis10S01M

*	Please confirm sample receipt as soon as you have received and checked the contents of this package, preferably using the fax form that you receive together with this package. Please complete the form and fax it to iis (faxno. ++ 31 181 694543 or email iisnl@sgs.com). If the package was visually damaged, please do not accept the package from the courier.

*	The cylinder has a DIN-1 connection. Please notify us immediately in case you are not able to use this connection due to lack of a suitable connector.

*	Please record on the report form before using it for analysis:

- the date that the cylinder was received

- the cylinder number (the 7-digit number on the back of the plasticized label)

- the weight of the cylinder before opening the valve

*	This interlaboratory study concerns 1 gas cylinder with methane (sample #10ME).  Please treat the sample as if it was a routine sample.

*	Each laboratory is requested to analyse the samples in the way it would normally do in day-to-day circumstances.

*	Report the analytical results using the indicated units on the report form and the requested minimum number of significant digits. Preferably unrounded results are used for the statistical evaluation.

*	Please report the methods used on the report form. If no Standard method is used, report the reference number of the 'in house' method that was used. Please send us the requested details of the method.

*	Please return the completed report forms to the Institute for Interlaboratory Studies in Spijkenisse, The Netherlands, preferably one week after sample receipt, but in any case before the indicated closing date: April 23, 2010 (preferably by email).

*	If you have any remarks/questions please contact:

ing. R.J. Starink, Institute for Interlaboratory Studies

P.O. box 200, NL-3200 AE Spijkenisse, The Netherlands

tel.no. ++ 31 181 694541

fax.no. ++ 31 181 694543

e-mail: iisnl@sgs.com