PROFICIENCY TEST                            FUEL OIL iis11F01	2011

Report form A for analysis results of sample #11001

Report to:	R.J.Starink before February 18, 2011	          fax. + 31 181 69 4543 or email iisnl@sgs.com

| Determination | Unit | Reference method (**) | Actual method used (**) | 'unrounded' result #11001 | result #11001 cfr. used standard |
| --- | --- | --- | --- | --- | --- |
| Acid Number | mg KOH/g | D664 |  |  |  |
| Ash Content | %M/M | D482 |  |  |  |
| Asphaltenes | % M/M | IP143 |  |  |  |
| Bromine number (*) | g Br/100g | D1159 |  |  |  |
| Calc.Carbon Aromaticity Index |  |  |  |  |  |
| Conradson Carbon Residue | % M/M | D189 |  |  |  |
| Density at 15°C | kg/m3 | ISO12185 |  |  |  |
| Flash Point PMcc | Automatic / Manual: A / M 1) Flame / Electr. Mode: F / E 1) |
| Flash Point PMcc | °C | D93 |  |  |  |
| Heat of Combustion, gross | MJ/kg | D240 |  |  |  |
| Heat of Combustion, net | MJ/kg | D240 |  |  |  |
| Kinematic viscosity @ 50°C | cSt | D445 |  |  |  |
| Kinematic viscosity @ 100°C | cSt | D445 |  |  |  |
| Micro Carbon Residue | % M/M | D4530 |  |  |  |
| Total organic chlorides | mg/kg | D6443 |  |  |  |
| Pour Point, Lower | °C | D97 |  |  |  |
| Pour Point, Upper | °C | D97 |  |  |  |
| Pour Point, Automated (Δ = 3°C) | °C |  |  |  |  |
| Sediments by extraction | % M/M | D473 |  |  |  |
| Potential total sediment | % M/M | IP390 | IP390 |  |  |
| Accelerated total sediment | % M/M | IP390 | IP390 |  |  |
| Total Sulphur Content | % M/M | D4294 |  |  |  |
| Nitrogen | µg/g | D5762 |  |  |  |
| Water by distillation | % V/V | D95 |  |  |  |

1) please circle the correct option;

(*) on 360 AET overhead fraction D1160;

(**) Please see letter of instructions

Please fill the numbers of bottles you have received

Bottles numbers:               &               (written on labels)

Name of laboratory:	Date of sample receipt:

Country:	City:

Name of responsible manager:	Date of report:

PROFICIENCY TEST                            FUEL OIL iis11F01	2011

Report form B for analysis results of sample #11001

Report to:	R.J. Starink before February 18, 2011		fax. + 31 181 69 45 43 or email iisnl@sgs.com

| Distillation ASTM D1160 performed @ 10 mm Hg | Unit | Reference method (**) | Actual method used (**) | 'unrounded' results #11001 @10mm Hg* | result #11001 cfr. used standard @760mmHg* |
| --- | --- | --- | --- | --- | --- |
| Initial Boiling Point | °C at AET | D1160 |  |  |  |
| 5% recovered at | °C at AET | D1160 |  |  |  |
| 10% recovered at | °C at AET | D1160 |  |  |  |
| 20% recovered at | °C at AET | D1160 |  |  |  |
| 30% recovered at | °C at AET | D1160 |  |  |  |
| 40% recovered at | °C at AET | D1160 |  |  |  |
| 50% recovered at | °C at AET | D1160 |  |  |  |
| Final Boiling Point | °C at AET | D1160 |  |  |  |
| fixed pressure (*) | mmHg |  |  | 10 * | 760 * |

(*) Please perform the distillation as near to 10 mm Hg as possible and report all temperatures both @10 mmHg (as recorded) and @760 mmHg as in daily practice.

|  | Unit | Reference method (**) | Actual method used (**) | 'unrounded' results #11001 | result #11001 cfr. used standard |
| --- | --- | --- | --- | --- | --- |
| Metals | Instrument used: ICP / AAS 1) |
| - Nickel, Ni | mg/kg | IP470 |  |  |  |
| - Potassium, K | mg/kg |  |  |  |  |
| - Sodium, Na | mg/kg | D5863 |  |  |  |
| - Vanadium, V | mg/kg | D5863 |  |  |  |

(**)Please see letter of instructions

| Determination | Unit | Reference method (**) | Actual method used (**) | 'unrounded' results #11001 | result #11001 cfr. used standard |
| --- | --- | --- | --- | --- | --- |
| CHN-Analyser |  |  |  |  |  |
| - Total Carbon | % M/M | D5291 |  |  |  |
| - Total Hydrogen | % M/M | D5291 |  |  |  |
| - Total Nitrogen | % M/M | D5291 |  |  |  |

(**)Please see letter of instructions

Name of laboratory:	Date of sample receipt:

Country:	City:

Name of contact person:	Date of report:

# Instructions to participants for the Fuel Oil Round Robin iis11F01

*	Please confirm sample receipt as soon as you have received and checked the contents of this package, preferably using the fax form that you receive together with this package. Please complete the form and send it to i.i.s. (faxno. ++ 31 181 694543 or email iisnl@sgs.com). When the bottles have been broken, please do not accept the package from the courier. Please be noticed that we will only send replacement bottles at our cost when there is proof of the sample being broken upon receipt. This means that the consignee must report a broken bottle immediately. The consignee should take pictures of how the package and bottles looked upon arrival. We need these pictures to claim costs from the forwarders. The consignee should always mark any damage (dents, rips, leakage etc.) on the outside of the packages on the consignment note from the courier when it is delivered. Even minor damages should be reported. Please send copies of consignment notes and the pictures via email to nl.spijkenisse.saman@sgs.com.

*	Please record the date that the samples were received on report forms A and B.

*	This interlaboratory study concerns 2 identical samples Fuel Oil (2*1L bottles and labelled #11001). Please treat each the samples as if they are a routine samples. Each laboratory is advised to perform only those analyses you routinely do (but you are allowed to do all analyses if you like). It might be wise to start with those tests which are most important to your laboratory, especially if the supplied sample amount seems to be critical.

*	On report form A and B an extra column is added on request of several participants.  This column is named:”reference method”. In this column the method is mentioned, which the Institute for Interlaboratory Studies will use for calculating the z-scores. It is of utmost importance to know that the method, which is mentioned, is NOT mandatory. So when you normally use in day-to-day circumstances an other method than the method prescribed in the ”reference method” column, please use your method and note the actual used method in the ”actual method used” column

*	Report the analytical results using the indicated units on the report form. Report in the last column the analytical results, rounded in accordance with the standard method that was used. Report in the first result column the same analytical results but less rounded (we suggest to report one extra significant figure) in order to give more meaningful statistical calculations.

For example, when you use ASTM D445 for the determination of Kinematic viscosity and you found a result of 323.112 cSt, we request you to report 323.1 cSt in accordance with ASTM D445 and 323.11 cSt as ‘unrounded’ result.

*	Please report the methods used on the report form. If no Standard method is used, report 'in house' method or report the official standard method on which it is based with the remark 'mod' (modified).

- Please return the completed report forms to the Institute for Interlaboratory Studies in Spijkenisse, The Netherlands, preferably one week after sample receipt, but in any case before the indicated closing date: FEBRUARY 18, 2011 (preferably by email).

*	If you have any remarks/questions please contact:

ing. R.J. Starink, Institute for Interlaboratory Studies

P.O. box 200, NL-3200 AE Spijkenisse, The Netherlands

tel.no. 0031 181 69 45 41

fax.no. 0031 181 69 45 43

e-mail: iisnl@sgs.com