PROFICIENCY TEST  DGA on TRANSFORMER OIL iis11L06.	2011

Report form for analysis results of sample #11107

Report to:	R.J. Starink 							before November 25, 2011

fax. + 31 181 694543 or e-mail iisnl@sgs.com (preferred)

| Determination of free and dissolved gases | Unit | Actual test method used (**) | LOD (limit of detection) | ‘Unrounded’ result #11107 | Result #11107 cfr. test method used |
| --- | --- | --- | --- | --- | --- |
| Hydrogen H2 (*) | μl/l |  |  |  |  |
| Oxygen O2 | μl/l |  |  |  |  |
| Nitrogen N2 | μl/l |  |  |  |  |
| Carbon monoxide CO | μl/l |  |  |  |  |
| Carbon dioxide CO2 | μl/l |  |  |  |  |
| Methane CH4 | μl/l |  |  |  |  |
| Ethane C2H6 | μl/l |  |  |  |  |
| Ethene C2H4 (ethylene) | μl/l |  |  |  |  |
| Ethyn C2H2 (acetylene) | μl/l |  |  |  |  |
| Propane C3H8 | μl/l |  |  |  |  |
| Propene C3H6 | μl/l |  |  |  |  |

(*) for indication only, see letter of instructions

(**) See letter of instructions

Please report the also following information:

Number of the syringe (written in black on the syringe and on the plunger):

Date of the actual analytical testing:

How much sample used:

# Extraction method used (e.g. Toepler, head space, ….):

# Estimated size of a gas bubble, if present:

Additional remarks:

Name of laboratory:	Date of sample receipt:

Country:                                                                           City:

Name of contact person:                                                        Date of report:

Instructions to participants for the DGA on TRANSFORMER OIL PT iis11L06

*	Please confirm sample receipt as soon as you have received and checked the contents of this package, preferably using the fax form that you receive together with this package. Please complete the form and send it to iis (faxno. ++ 31 181 694543 or email iisnl@sgs.com).

When the syringe has been broken, please do not accept the package from the courier. Please be noticed that we will only send a replacement syringe at our cost when there is proof of the sample being broken upon receipt. This means that the consignee must report a broken syringe immediately. The consignee should take pictures of how the package and syringe looked upon arrival. We need these pictures to claim costs from the forwarders. The consignee should always mark any damage (dents, rips, leakage etc.) on the outside of the packages on the consignment note from the courier when it is delivered. Even minor damages should be reported. Please send copies of consignment notes and the pictures via email to nl.spijkenisse.saman@sgs.com.

*	Please record the date that the syringe was received on the report form.

*	This interlaboratory study concerns 1 numbered 50 ml syringe with transformer oil of sample #11107.  Please treat the sample as if it was a routine sample. Please note the syringe number on the report form. Also note the actual date of analysis on the form.

*	Each laboratory is requested to analyse the oil in the way it would do in day-to-day circumstances.

*	In rare cases there may be a small gas bubble visible in the oil in the syringe. Often the bubble will redissolve within 24 hours. Gently rolling the syringe may facilitate the dissolution. However, also when the bubble stays present, please do test the sample as if no bubble is present. As the gas in the oil will be in equilibrium with the gas in the bubble, we expect to see no large effects by the presence of this bubble as was the case in last year’s proficiency test. However, please note the estimated size of the bubble on the report form.

*	Report the analytical results using the indicated units on the report form. The form is available as Word document on our web site http://www.iisnl.com (see the section ‘news and reports’). Please report in the last column the analytical results, rounded in accordance with the test method that was used. Report in the first result column the same analytical results, but less rounded (we suggest to report one extra significant figure) in order to give more meaningful statistical calculations. For example, when you have tested the sample for carbon monoxide and found a result of 54.321 μL/L, we request you to report 54 μL/L in accordance with IEC60567 and 54.321 μl/l as unrounded result.

# *	For the evaluation of the test results the precision requirements from the standardised method IEC60567 will be used.

*	Please return the completed report form to the Institute for Interlaboratory Studies in Spijkenisse, The Netherlands, preferably one week after sample receipt, but in any case before the indicated closing date: NOVEMBER 25, 2011 (preferably by e-mail).

*	If you have any remarks/questions please contact:

ing. R.J. Starink, Institute for Interlaboratory Studies

P.O. box 200, NL-3200 AE Spijkenisse, The Netherlands

tel.no. ++ 31 181 694541

fax.no. ++ 31 181 694543

e-mail: iisnl@sgs.com