# PROFICIENCY TEST                         NAPHTHA iis11N01-Hg	2011

Report form A for analysis results of samples #11028 and #11029

ONLY for MERCURY as Hg

# Report to:	R.J. Starink before April 15, 2011

fax. + 31 181 69 45 43 or email iisnl@sgs.com

| Determination | Unit | Reference method (**) | Actual method used(**) | Unrounded result #11028 | result #11029 rounded cfr. used standard |
| --- | --- | --- | --- | --- | --- |
| Mercury Determination | = = = = Mercury content (20 – 200 μg/kg) = = = = |
| - Mercury as Hg | µg/kg |  |  |  |  |

| Determination | Unit | Reference method (**) | Actual method used(**) | Unrounded result #11029 | result #11029 rounded cfr. used standard |
| --- | --- | --- | --- | --- | --- |
| Mercury Determination | = = = = Mercury content (20 – 200 μg/kg) = = = = |
| - Mercury as Hg | µg/kg |  |  |  |  |

(**) Please see instructions

# How was the sample treated:

- Direct Measurement:

- Destruction:

- Other:   ________________________________

# What calibration was used for quantification:

- Organic standard	type:________________

- Anorganic standard	type:________________

- Other:	type:________________

# Quantification Method:

# A.A.S.

# ICP

# Hg-Hydride

# Other:  _________________________________

Remarks:

Name of laboratory:	Date of sample receipt:

Country:	City:

Name of contact person:	Date of report:

Instructions to participants for the interlaboratory study Naphtha iis11N01-Hg

*	Please confirm sample receipt as soon as you have received and checked the contents of this package, preferably using the fax form that you receive together with this package. Please complete the form and send it to i.i.s. (faxno. ++ 31 181 694543 or email iisnl@sgs.com). When the bottles have been broken, please do not accept the package from the courier. Please be noticed that we will only send replacement bottles at our cost when there is proof of the sample being broken upon receipt. This means that the consignee must report a broken bottle immediately. The consignee should take pictures of how the package and bottles looked upon arrival. We need these pictures to claim costs from the forwarders. The consignee should always mark any damage (dents, rips, leakage etc.) on the outside of the packages on the consignment note from the courier when it is delivered. Even minor damages should be reported. Please send copies of consignment notes and the pictures via email to nl.spijkenisse.saman@sgs.com

*	Please record the date that the samples were received on the report form.

*	This interlaboratory study concerns 2 different samples of Naphtha (1* 0.5L bottle labelled #11028 and 1* 0.5L bottle labelled  #11029). Please treat the samples as if they were routine samples.

*	Each laboratory is requested to analyse the sample(s) in the way it would normally do in day-to-day circumstances

*	Report the analytical results using the indicated units on the report form. Report in the last column the analytical results, rounded in accordance with the standard method that was used. Report in the first result column the same analytical results but less rounded (we suggest to report one extra significant figure) in order to give more meaningful statistical calculations.

For example, when you use ASTM D4052 for the determination of Density and you found a result of 0.75285 kg/L, we request you to report 0.7529 kg/l in accordance with ASTM D4052 and 0.75285 kg/L as ‘unrounded’ result.

# *	On report form(s) an extra column is added on request of several participants. This column is named: ”reference method”. In this column the method is mentioned, which the Institute for Interlaboratory Studies will use for calculating the z-scores. It is of utmost importance to know that the method, which is mentioned, is NOT mandatory.

# So when you normally use in day-to-day circumstances an other method than the method prescribed in the ”reference method” column, please use your method and note the actual used method in the ”actual method used” column.

*	Report also the method used on the report form.

*	Return the completed report form(s) to the Institute for Interlaboratory Studies at Spijkenisse, The Netherlands, preferably one week after sample receipt, but in any case before the indicated closing date: APRIL 15, 2011 (preferably by email).

*	If you have any remarks/questions please contact:

ing. R.J. Starink, Institute for Interlaboratory Studies

P.O. box 200, NL-3200 AE Spijkenisse, The Netherlands

tel.no. ++ 31 181 694540 or ++ 31 181 694541

fax.no. ++ 31 181 694543

e-mail: iisnl@sgs.com