PROFICIENCY TEST	DVPE on BIOGASOLINE E10 iis12B03-DVPE	2012

# Report form for analysis results of sample #12071

# Report to:	ing. R.J. Starink 						                before June 1, 2012		fax. + 31 181 69 45 43 or email iisnl@sgs.com (preferred)

| Determination | unit | Reference method (**) | Actual method used(**) | Unrounded result #12071 | Result #12071 cfr. used standard |
| --- | --- | --- | --- | --- | --- |
| Total vapour pressure | psi 1) | D5191 |  |  |  |
| DVPE acc.to ASTM D5191 2) | psi 1) | D5191 |  |  |  |
| DVPE acc.to EPA 2) | psi 1) | D5191 |  |  |  |

(**) Please see instructions the letter of instruction

1) Please do not report in other units

2) See calculation formulae in the letter of instructions

Name of laboratory:	Date of sample receipt:

Country:                                                                                        City:

Name of contact person:                                                                       Date of report:

Instructions to participants for the Interlaboratory Study DVPE on Biogasoline E10 iis12B03-DVPE

*	Please confirm sample receipt as soon as you have received and checked the contents of this package, preferably using the fax form that you receive together with this package. Please complete the form and send it to i.i.s. (faxno. ++ 31 181 694543 or email iisnl@sgs.com). When the bottle has been broken, please do not accept the package from the courier. Please be noticed that we will only send replacement bottle at our cost when there is proof of the sample being broken upon receipt. This means that the consignee must report a broken bottle immediately. The consignee should take pictures of how the package and bottle looked upon arrival. We need these pictures to claim costs from the forwarders. The consignee should always mark any damage (dents, rips, leakage etc.) on the outside of the packages on the consignment note from the courier when it is delivered. Even minor damages should be reported. Please send copies of consignment notes and the pictures via email to nl.spijkenisse.saman@sgs.com.

*	Please records the date that the sample was received on the report form.

*	This interlaboratory study concerns 1 sample Biogasoline E10 (approximately 80% filled 1 liter bottle of sample #12071). Please treat the sample as it was a routine sample.

*	Each laboratory is requested to analyse the samples in the way it would normally do in day-to-day circumstances.

*	Please use the following formula’s for conversion of TVP to DVPE:

DVPE (ASTM D5191) = 0.965 x TVP - 0.548 psi	(TVP= Total Vapour Pressure)

DVPE (EPA) = 0.956 x TVP - 0.347 psi

*	Report the analytical results using the indicated units on the report form. Report in the last column the analytical results, rounded in accordance with the standard method that was used. Report in the first result column the same analytical results but less rounded (we suggest to report one extra figure) in order to give more meaningful statistical calculations. 	For example, when you use ASTM D5191 for the determination of Dry Vapour Pressure Equivalent and you found a result of 9.4321 psi, we request you to report 9.43 psi in accordance with ASTM D5191 and 9.432 psi as ‘unrounded’ result.

*	On the report form an extra column is added on request of several participants.  This column is named: ”reference method”. In this column the method is mentioned, which the Institute for Interlaboratory Studies will use for calculating the z-scores. It is of utmost importance to know that the method, which is mentioned, is NOT mandatory. So when you normally use in day-to-day circumstances an other method than the method prescribed in the ”reference method” column, please use your method and note the actual used method in the ”actual method used” column.

*	Please return the completed report form to the Institute for Interlaboratory Studies in Spijkenisse, The Netherlands, preferably one week after sample receipt, but in any case before the indicated closing date: June 1, 2012 (preferably by email).

*	If you have any remarks/questions please contact:

ing. R.J. Starink, Institute for Interlaboratory Studies

P.O. box 200, NL-3200 AE Spijkenisse, The Netherlands

tel.no. ++ 31 181 69 45 41

fax.no. ++ 31 181 69 45 43

e-mail: iisnl@sgs.com