PROFICIENCY TEST	BIOGASOLINE E10  iis12B03	2012

# Report form A for analysis results of sample #12070

Report to: 	ing. R.J. Starink 							before June 1, 2012

fax.  + 31 181 69 4543 or email iisnl@sgs.com (preferred)

| Determinations | Unit | Reference method (**) | Actual method used(**) | Unrounded result #12070 | Result #12070 cfr. used standard |
| --- | --- | --- | --- | --- | --- |
| Aromatics by GC | %V/V | EN14517 |  |  |  |
| API gravity | --- | D1298 |  |  |  |
| Benzene | %V/V | EN14517 |  |  |  |
| Copper strip 3hrs/50°C | rating | ISO2160 / D130 |  |  |  |
| Density @15°C | kg/m3 | ISO12185 |  |  |  |
| Distillation @760 mmHg | Manual or Automatic M / A 1) |
| - IBP | °C | ISO3405 |  |  |  |
| - 10% evaporated | °C | ISO3405 |  |  |  |
| - 50% evaporated | °C | ISO3405 |  |  |  |
| - 90% evaporated | °C | ISO3405 |  |  |  |
| - FBP | °C | ISO3405 |  |  |  |
| - % evap. at 70ºC | %V/V | ISO3405 |  |  |  |
| - % evap. at 100ºC | %V/V | ISO3405 |  |  |  |
| - % evap. at 150ºC | %V/V | ISO3405 |  |  |  |
| - Distillation residue | %V/V | ISO3405 |  |  |  |
| Doctor test |  | D4952 |  |  |  |
| Ethanol | %V/V | EN14517 |  |  |  |
| Existent gum (washed) | mg/100ml | ISO6246 |  |  |  |
| FIA test for hydrocarbons |  |  |  |  |  |
| - olefins 2) | %V/V | D1319 |  |  |  |
| - aromatics 2) | %V/V | D1319 |  |  |  |
| Lead as Pb | mg/l | EN237 |  |  |  |
| Manganese as Mn | mg/l | D3831 |  |  |  |
| Mercaptans as S | %M/M | D3227 |  |  |  |

1) Please circle the correct option

2) Without oxygenates correcction

(**) Please see the letter of instructions

Name of laboratory:	Date of sample receipt:

Country:                                                                                        City:

Name of contact person:                                                                       Date of report:

PROFICIENCY TEST	BIOGASOLINE E10  iis12B03	2012

# Report form B for analysis results of sample #12070

Report to: 	ing. R.J. Starink 							before June 01, 2012

fax.  + 31 181 69 4543 or email iisnl@sgs.com (preferred)

| Determination | Unit | Reference method (**) | Actual method used(**) | Unrounded result #12070 | Result #12070 cfr. used standard |
| --- | --- | --- | --- | --- | --- |
| Olefins by GC | %V/V | EN14517 |  |  |  |
| Oxidation Stability 3) | minutes | ISO7536 / D525 |  |  |  |
| Oxygen content | %M/M | EN14517 |  |  |  |
| Sulphur | mg/kg | ISO20846 |  |  |  |

3) Only report ”>” when above 900 minutes, otherwise report a real breakpoint

(**) Please see the letter of instructions

| Determination | Unit | Reference method (**) | Actual method used(**) | Unrounded result #12070 | Result #12070 cfr. used standard |
| --- | --- | --- | --- | --- | --- |
| RON/MON |  |
| - RON |  | ISO5164 / D2699 |  |  |  |
| - MON |  | ISO5163 / D2700 |  |  |  |

(**) Please see the letter of instructions

Name of laboratory:	Date of sample receipt:

Country:                                                                                        City:

Name of contact person:                                                                       Date of report:

Instructions to participants for the Interlaboratory Study Biogasoline E10 iis12B03

*	Please confirm sample receipt as soon as you have received and checked the contents of this package, preferably using the fax form that you receive together with this package. Please complete the form and send it to i.i.s. (faxno. ++ 31 181 694543 or email iisnl@sgs.com). When the bottles have been broken, please do not accept the package from the courier. Please be noticed that we will only send replacement bottles at our cost when there is proof of the sample being broken upon receipt. This means that the consignee must report a broken bottle immediately. The consignee should take pictures of how the package and bottles looked upon arrival. We need these pictures to claim costs from the forwarders. The consignee should always mark any damage (dents, rips, leakage etc.) on the outside of the packages on the consignment note from the courier when it is delivered. Even minor damages should be reported. Please send copies of consignment notes and the pictures via email to nl.spijkenisse.saman@sgs.com.

*	Please records the date that the samples were received on the report forms (A and B).

*	This interlaboratory study concerns 2 identical samples of Biogasoline E10 (2 * 1 litre of sample #12070). Please treat the samples as if they were routine samples.

*	Each laboratory is requested to analyse the samples in the way it would normally do in day-to-day circumstances. Furthermore, each laboratory is advised to perform only those analyses you routinely do (but you are allowed to do all analyses if you like). It might be wise to start with those tests which are most important to your laboratory, especially if the supplied sample amount seems to be critical for your lab.

*	Report the analytical results using the indicated units on the report forms. Report in the last column the analytical results, rounded in accordance with the standard method that was used. Report in the first result column the same analytical results but less rounded (we suggest to report one extra figure) in order to give more meaningful statistical calculations. 	For example, when you use ASTM D1319 for the determination of Aromatics by FIA and you found a result of 26.3259 %V/V, we request you to report 26.33 %V/V in accordance with ASTM D1319 and 26.326 %V/V as ‘unrounded’ result.

*	On report form A and B an extra column is added on request of several participants. This column is named: ”reference method”. In this column the method is mentioned, which the Institute for Interlaboratory Studies will use for calculating the z-scores. It is of utmost importance to know that the method, which is mentioned, is NOT mandatory. So when you normally use in day-to-day circumstances an other method than the method prescribed in the ”reference method” column, please use your method and note the actual used method in the ”actual method used” column.

Also please report whether distillation was performed manually or by the use of an automated apparatus.

*	Please return the completed report forms to the Institute for Interlaboratory Studies in Spijkenisse, The Netherlands, preferably one week after sample receipt, but in any case before the indicated closing date: June 1, 2012 (preferably by email).

*	If you have any remarks/questions please contact:

ing. R.J. Starink, Institute for Interlaboratory Studies

P.O. box 200, NL-3200 AE Spijkenisse, The Netherlands

tel.no. + 31 181 69 45 41

fax.no. + 31 181 69 45 43

e-mail: iisnl@sgs.com