INTERLABORATORY STUDY   N-BUTYLACRYLATE iis12C05 	2012

Report form for analysis results on sample #12073

Report to: 	ing. R.J. Starink 							before June 8, 2012

fax.  + 31 181 69 4543 or email iisnl@sgs.com (preferred)

| Determination | unit | Reference method (**) | Actual method used (**) | ’unrounded’result #12073 | result #12073 rounded cfr. used standard |
| --- | --- | --- | --- | --- | --- |
| Acidity (free acid as acrylic acid) | %M/M | D1613 |  |  |  |
| Appearance |  | E2680 |  |  |  |
| Colour Pt/Co |  | D1209 |  |  |  |
| Density @ 20 °C | kg/L | D4052 |  |  |  |
| MEHQ | mg/kg | D3125 |  |  |  |
| Water | mg/kg | D1364 |  |  |  |
| Purity ”as received” | % M/M |  |  |  |  |
| Purity on dry basis (1) | % M/M | D3362 |  |  |  |
| n-Butanol | mg/kg | D3362 |  |  |  |
| n-Butylacetate | mg/kg | D3362 |  |  |  |
| n-Butylmetacrylate | mg/kg | D3362 |  |  |  |
| n-Butylpropionate | mg/kg | D3362 |  |  |  |
| Di-n-butylether | mg/kg | D3362 |  |  |  |
| 2-Ethylhexylacrylate | mg/kg | D3362 |  |  |  |
| Isobutylacrylate | mg/kg | D3362 |  |  |  |
| Other impurities | mg/kg |  |  |  |  |
| Total impurities | mg/kg |  |  |  |  |

(**)  Please see the letter of instructions

(1)  Purity is calculated by normalisation after subtraction of the water content and acidity content.

Name of laboratory:	Date of sample receipt:

Country:                                                                              City:

Name of contact person:                                                            Date of report:

Instructions to participants for the interlaboratory study n-Butylacrylate iis12C05

*		Please confirm sample receipt as soon as you have received and checked the contents of this package, preferably using the fax form that you receive together with this package. Please complete the form and send it to i.i.s. (faxno. ++ 31 181 694543 or email iisnl@sgs.com). When the bottle has been broken, please do not accept the package from the courier. Please be noticed that we will only send replacement bottle at our cost when there is proof of the sample being broken upon receipt. This means that the consignee must report a broken bottle immediately. The consignee should take pictures of how the package and bottle looked upon arrival. We need these pictures to claim costs from the forwarders. The consignee should always mark any damage (dents, rips, leakage etc.) on the outside of the packages on the consignment note from the courier when it is delivered. Even minor damages should be reported. Please send copies of consignment notes and the pictures via email to nl.saman.iis@sgs.com

*	Please record the date that the sample was received on the report form.

*	This interlaboratory study concerns one sample of n-Butylacrylate (0.5 litre of sample #12073). Please treat the sample as if it was a routine sample.

*	Each laboratory is requested to analyse the sample in the way it would normally do in day-to-day circumstances. Furthermore, each laboratory is advised to perform only those analyses you routinely do (but you are allowed to do all analyses if you like). It might be wise to start with those tests which are most important to your laboratory, especially if the supplied sample amount seems to be critical.

*	Report the analytical results using the indicated units on the report form. Report in the last column the analytical results, rounded in accordance with the standard method that was used. Report in the first result column the same analytical results but less rounded (we suggest to report one extra figure) in order to give more meaningful statistical calculations.

For example, when you use ASTM D4052 for the determination of density and you found a result of 0.89895 kg/L, we request you to report 0.8990 kg/L in accordance with ASTM D4052 and 0.89895 kg/L as ‘unrounded’ result.

*	On the report form an extra column is added on request of several participants. This column is named: ”reference method”. In this column the method is mentioned, which the Institute for Interlaboratory Studies will use for calculating the z-scores. It is of utmost importance to know that the method, which is mentioned, is NOT mandatory. So when you normally use in day-to-day circumstances an other method than the method prescribed in the ”reference method” column, please use your method and note the actual used method in the ”actual method used” column.

*	Please return the completed report form to the Institute for Interlaboratory Studies in Spijkenisse, The Netherlands, preferably one week after sample receipt, but in any case before the indicated closing date: JUNE 8, 2012 (preferably by email).

*	If you have any remarks/questions please contact:

ing. R.J. Starink, Institute for Interlaboratory Studies

P.O. box 200, NL-3200 AE Spijkenisse, The Netherlands

tel.no. + 31 181 69 45 41

fax.no. + 31 181 69 45 43

e-mail: iisnl@sgs.com