INTERLABORATORY STUDY     BIODIESEL 100% FAME (B100) iis12G02CST	2012

(based on specifications ASTM D6751)

Report form for analysis result of Cold Soak Filtration Test on sample #12055

# Report to:	Mr. R.J.Starink before May 11, 2012 faxno. + 31 181 69 45 43 or email iisnl@sgs.com (preferred)

| Determination | unit | Reference method (**) | Actual method used (**) | Unrounded result #12055 | result #12055 rounded cfr. used standard |
| --- | --- | --- | --- | --- | --- |
| Cold Soak Filtration Test | s | D7501 |  |  |  |

# In case the filter blocks, please report the amount of B100 which passed the filter; ________ mL

# (**) Please see the letter of intructions

Name of laboratory:	Date of sample receipt:

Country:                                                                             City:

Name of contact person:                                                           Date of report:

# Instructions to participants for the interlaboratory study BIODIESEL 100% FAME iis12G02CST

*	Please confirm sample receipt as soon as you have received and checked the contents of this package, preferably using the fax form that you receive together with this package. Please complete the form and send it to i.i.s. (faxno. ++ 31 181 694543 or email iisnl@sgs.com). When the bottles have been broken, please do not accept the package from the courier. Please be noticed that we will only send replacement bottles at our cost when there is proof of the sample being broken upon receipt. This means that the consignee must report a broken bottle immediately. The consignee should take pictures of how the package and bottles looked upon arrival. We need these pictures to claim costs from the forwarders. The consignee should always mark any damage (dents, rips, leakage etc.) on the outside of the packages on the consignment note from the courier when it is delivered. Even minor damages should be reported. Please send copies of consignment notes and the pictures via email to nl.spijkenisse.saman@sgs.com.

*	Please records the date that the sample was received on the report form.

*	This interlaboratory study concerns one sample especially for Cold Soak Test/Fuel Filter Blocking Potential (one bottle of 0.5L, sample #12055). Please treat the sample as if it was a routine sample.

*	Each laboratory is requested to analyse the sample in the way it would normally do in day-to-day circumstances.

*	Report the analytical results using the indicated units on the report form. Report in the last column the analytical results, rounded in accordance with the standard method that was used. Report in the first result column the same analytical results but less rounded (we suggest to report one extra significant figure) in order to give more meaningful statistical calculations.

For example, when you use ASTM D6751 Annex A1 for the determination of Cold soak Filter Test and you found a result of 201.8 seconds, we request you to report 202 s in accordance with ASTM D6751 Annex A1 and 201.8 s as ‘unrounded’ result.

# *	On the report form an extra column is added on request of several participants. This column is named: ”reference method”. In this column the method is mentioned, which the Institute for Interlaboratory Studies will use for calculating the z-score. It is of utmost importance to know that the method, which is mentioned, is NOT mandatory. So when you normally use in day-to-day circumstances an other method than the method prescribed in the ”reference method” column, please use your method and report the actual used method in the ”actual method used” column.

*	Return the completed report form to the Institute for Interlaboratory Studies at Spijkenisse, The Netherlands, preferably one week after sample receipt, but in any case before the indicated closing date: MAY 11, 2012 (preferably by email).

*	If you have any remarks/questions please contact:

ing. R.J. Starink, Institute for Interlaboratory Studies

p.o. box 200, NL-3200 AE Spijkenisse, The Netherlands

tel.no. ++ 31 181 69 45 41 or ++ 31 181 69 45 40

faxno. ++ 31 181 69 45 43

email: iisnl@sgs.com