REPORT FORM A – (iis13P05GM)                          Report before 25th October, 2013

Please take care to use the fixed test conditions as given below!

Predetermined test conditions to be used by the participating laboratories:

| Sample ID | #13183 |
| --- | --- |
| Simulant | Distilled water |
| Exposure time | 2.0 hrs |
| Exposure temperature | 70.0 °C |
| Migration method | Total immersion |

What actual amount of simulant was used for each migration step in ml: 1st...................................................

2nd.................................................

3nd.................................................

What actual contact surface was used in dm2: ...................................................................................................

| First step results1 | Unit | Minimum no. of digits to use | Result #13183 |
| --- | --- | --- | --- |
| Residue after evaporation of simulant | mg | #.## |  |
| 1st Overall Migration | mg/dm2 | #.## |  |
| 1st Overall Migration | mg/kg | #.## |  |

| Second step results1 | Unit | Minimum no. of digits to use | Result #13183 |
| --- | --- | --- | --- |
| Residue after evaporation of simulant | mg | #.## |  |
| 2nd Overall Migration | mg/dm2 | #.## |  |
| 2nd Overall Migration | mg/kg | #.## |  |

| Third step results1 | Unit | Minimum no. of digits to use | Result #13183 |
| --- | --- | --- | --- |
| Residue after evaporation of simulant | mg | #.## |  |
| 3nd Overall Migration | mg/dm2 | #.## |  |
| 3nd Overall Migration | mg/kg | #.## |  |

(1) Please see the letter of instruction

Name of laboratory:	Date of sample receipt:

City:	Country:

Name of contact person:	Date of report:

REPORT FORM B – (iis13P05GM)                          Report before 25th October, 2013

Please also report the conditions that your laboratory would have used when not set by PT organiser:

To answer the above questions, assume that the framework of use for the PTFE material is as follows:

From the PTFE material a container is made, which is used in a factory, where food is processed at 40 degrees, at a pH value of 3, for a period of 2 hours.

|  | Unit | Value |
| --- | --- | --- |
| Simulant (type, e.g. water, 95% ethanol, 3% acetic acid, other) |  |  |
| Exposure time | hrs |  |
| Exposure temperature | °C |  |
| Reporting unit (e.g. mg, mg/dm2, mg/kg, other) |  |  |
| Migration method: ( total immersion, pouch, cell, other) |  |  |

Method used to determine the contact surface in dm2 : _______________________________________

Remarks : __________________________________________________________________________

Name of laboratory:	Date of sample receipt:

City:	Country:

# Name of contact person:	Date of report:

# LETTER OF INSTRUCTIONS

- Please confirm sample receipt as soon as you have received and checked the contents of this package, preferably using the fax form that you receive together with this package. Please complete the forms and return it to iis (email iisnl@sgs.com or fax no. ++ 31 181 69 4543).

- This interlaboratory study concerns 2 PTFE plates used for industrial purposes, being . The PTFE material can come into repeated contact with flowing foodstuff and therefore the overall migration, also called total migration or global migration, should be limited. Laboratories have the choice to do the overall migration test in singular or in duplicate. Please report the average result on report form A when the test is performed in duplicate.

- To reduce the number of variables and thus the expected spread in results several test conditions are predetermined, see Report Form A. However, we also would like to know what each laboratory would have used for these variables in this case, when they were not predetermined as in this PT.

- Laboratories are requested to determine and report the overall migration on food contact by total immersion in 3 migration steps. The test results for each migration step are expressed in mg/dm2 and in mg/kg. Also requested is the mass of the residue after evaporation in milligrams.

- Report the test results on the report form A, using the indicated units and the minimum number of digits. Also do not report ‘less than’-results, which are above your detection limit. Results reported as ‘less than’, not detected and nil (or zero) cannot be used for meaningful statistical calculations.

- Please also report the test method used. When no standardised test method is used, please give a summary of the test method.

- Please also report the test conditions that you would have used when these were not predetermined by iis. Also report the method that you used to determine the contact surface. Please do this on report form B.

- Please return the completed report forms to iis, the Netherlands, preferably one week after sample receipt, but in any case before the closing date: 25th October, 2013 (preferably by email).

- For your info, the reproducibility from EN1186-3 will be used to calculate z-scores in the final report.

- If you have any remarks/questions please contact:

ing. R.J. Starink, Institute for Interlaboratory Studies

P.O. box 200, NL-3200 AE Spijkenisse, the Netherlands

tel.no. ++ 31 181 69 4541

fax.no. ++ 31 181 69 4543

e-mail: iisnl@sgs.com