Report form 	Report before November 14, 2014

Test and report sample #14209:

|  | Unit | Reference method (**) | Actual method used (**) | ’unrounded’ result #14209 (*) | result #14209 rounded cfr. used standard (*) |
| --- | --- | --- | --- | --- | --- |
| Formaldehyde content (HPLC) | mg/kg | ISO17226-1 |  |  |  |
| Formaldehyde content (colorimetric) (***) | mg/kg | ISO17226-2 |  |  |  |
| pH |  | ASTM D2810 |  |  |  |

# (*) Note: Please do not report test results on dry basis

# (**) See the letter of instructions.

Remarks:

# (***) Analytical details when the colorimetric method was used:

- Were the reagents checked for absence of formaldehyde? YES/ NO

If yes, please give absorbance measured ………..............

- Was tested for other compounds which cause a coloring with acetylacetone? YES/ NO

If yes, please give absorbance measured ………..............

- Was the absorbance of the sample solution corrected for above absorbances? YES/ NO

If yes, please give absorbance of the sample solution before and after correction  ………..............

Name of laboratory:	Date of sample receipt:

Country:	City:

Name of contact person:	Date of report:

INSTRUCTIONS TO PARTICIPANTS

- Please confirm sample receipt as soon as you have received and checked the contents of this package, preferably using the receipt confirmation form that you received together with the samples. Please complete the form and return it to iis by email: iisnl@sgs.com or by fax + 31 181 69 4543.

- This interlaboratory study concerns one leather sample (no. #14209) for the determination of formaldehyde

content and/or the determination of pH. You received approx. 8 grams of this sample. The formaldehyde

content may be determined using test methods like for example ISO17226-1 and ISO17226-2 and other

similar methods.

- Please treat the sample as if it was a routine sample and analyse them in the way you would normally do in day-to-day circumstances. Please know that the sample is not tested on dry basis.

- Report the analytical results using the indicated units on the report form. Do not report ‘less than’-results which are above your detection limit. Results reported as ‘less than’ cannot be used for meaningful statistical calculations. For example, when you use ISO17226-2 for the determination of Formaldehyde content and you found a result of 10.94 mg/kg, we request you to report 10.9 mg/kg in accordance with ISO17226-2 and 10.94 mg/kg as ‘unrounded’ result.

- Please report the actual test method used on the report form.

- In order to avoid mix-up of test results we have added a box for your laboratory code. Please understand that it is not mandatory to use, but it will facilitate identification of your test results.

- Please return the completed report form to iis in Spijkenisse, the Netherlands, preferably one week after sample receipt, but in any case before the indicated closing date: NOVEMBER 14, 2014 (preferably by email).

- If you have any remarks/questions please contact:

Ing. R.J. Starink, Institute for Interlaboratory Studies

P.O. box 200, NL-3200 AE Spijkenisse, the Netherlands

Tel.no. + 31 181 69 45 41

Fax.no. + 31 181 69 45 43

e-mail: iisnl@sgs.com