Report form for analysis results of sample #14025 				       before April 11, 2014

(based on the scope of ASTM D910)

| Determinations | Unit | Reference method (**) | Actual method used(**) | Unrounded result #14025 (**) | Result #14025 cfr. used standard (**) |
| --- | --- | --- | --- | --- | --- |
| Colour |  | D2392 |  |  |  |
| Copper strip 2hrs/100°C | rating | D130 |  |  |  |
| Density @15°C | kg/m3 | D4052 |  |  |  |
| Distillation @ 760 mmHg | Manual or Automatic M / A 1) |
| - IBP | °C | D86 |  |  |  |
| - 10% evaporated | °C | D86 |  |  |  |
| - 40% evaporated | °C |  |  |  |  |
| - 50% evaporated | °C | D86 |  |  |  |
| - 90% evaporated | °C | D86 |  |  |  |
| - FBP | °C | D86 |  |  |  |
| - Distillation residue | %V/V | D86 |  |  |  |
| Aromatics | %V/V | D6379 |  |  |  |
| Existent gum (without treatment) | mg/100ml | D381 |  |  |  |
| Freezing Point | °C | D2386 |  |  |  |
| Heat of Combustion (Net) | MJ/kg | D3338 |  |  |  |
| Lead as Pb 2) | g Pb/L | D3341 |  |  |  |
| Lead as TEL | mL/L TEL/L | D3341 |  |  |  |
| Oxidation Stability |  |
| - Lead precipitate | mg/100mL | D873 |  |  |  |
| - Potential Gum | mg/100mL | D873 |  |  |  |
| Sulphur | %M/M | D2622 |  |  |  |
| Water reaction, volume change | mL | D1094 |  |  |  |
| MON (lean mixture) |  | D2700 |  |  |  |

1) Please circle the correct option

2) When ASTM D5059 is used please specify method A, B or C.

(**) Please see the letter instructions,

Name of laboratory:	Date of sample receipt:

Country:                                                                                        City:

Name of contact person:                                                                       Date of report:

Instructions to participants for the Interlaboratory Study Aviation Gasoline iis14B02

*	Please confirm sample receipt as soon as you have received and checked the contents of this package, preferably using the fax form that you receive together with this package. Please complete the form and send it to iis (email iisnl@sgs.com or faxno. ++ 31 181 694543). When the bottles have been broken, please do not accept the package from the courier. Please note that we will only send replacement bottles at our cost when there is proof of the sample being broken upon receipt. This means that the consignee must report a broken bottle immediately. The consignee should take pictures of how the package and bottles looked upon arrival. We need these pictures to claim costs from the forwarders. The consignee should always mark any damage (dents, rips, leakage etc.) on the outside of the packages on the consignment note from the courier when it is delivered. Even minor damages should be reported. Please send copies of consignment notes and the pictures via email to nl.saman.iis@sgs.com.

*	Please record the date that the samples were received on the report form.

*	This interlaboratory study concerns 2 identical samples of aviation gasoline (2 * 1 L bottle of sample #14025). Please treat the samples as if they were routine samples. Furthermore, each laboratory is advised to perform only those analyses you routinely do (but you are allowed to do all analyses if you like). It might be wise to start with those tests which are most important to your laboratory, especially if the supplied sample amount seems to be critical.

*	Report the analytical results using the indicated units on the report form. Report in the last column the analytical results, rounded in accordance with the standard method that was used. Report in the first result column the same analytical results but less rounded (we suggest to report one extra figure) in order to give more meaningful statistical calculations. 	For example, when you use ASTM D4052 for the determination of  Density and you found a result of  710.53, we request you to report 710.5 in accordance with ASTM D4052 and 710.53 as ‘unrounded’ result.

*	Please report the methods used on the report form. If no Standard method is used, report 'in house' method or report the official standard method on which it is based with the remark 'mod' (modified). Also please report whether distillation was performed manually or by the use of automated equipment.

*	On the report form an extra column is added on request of several participants. This column is named: ”reference method”. In this column the method is mentioned, which the Institute for Interlaboratory Studies will use for calculating the z-scores. It is of utmost importance to know that the method, which is mentioned, is NOT mandatory. So when you normally use in day-to-day circumstances another method than the method prescribed in the ”reference method” column, please use your method and note the actual used method in the ”actual method used” column.

*     	In order to avoid mix-up of test results we have added a box for your laboratory code. Please understand that it is not mandatory to use, but it will facilitate identification of your test results.

*	Please return the completed report form to the Institute for Interlaboratory Studies in Spijkenisse, The Netherlands, preferably one week after sample receipt, but in any case before the indicated closing date: April 11, 2014 (preferably by email).

*	If you have any remarks/questions please contact:

ing. R.J. Starink Institute for Interlaboratory Studies

P.O. box 200, NL-3200 AE Spijkenisse, The Netherlands

tel.no. + 31 181 69 45 41

fax.no. + 31 181 69 45 43

e-mail: iisnl@sgs.com