# Report form for analysis results of sample #14062

(Based on scope of specification CEN/TS 15293:2011 and ASTM D5798:2013)

Report before May 23, 2014

| Determinations | Unit | Reference method (**) | Actual method used(**) | Unrounded result #14062 | Result #14062 cfr. used standard |
| --- | --- | --- | --- | --- | --- |
| Acidity as acetic acid | %M/M | EN15491 / D7795 |  |  |  |
| Aliphatic ether blend content |
| - Methanol | %V/V | EN1601 |  |  |  |
| - Higher saturated monoalcohols (C3-C5) | %V/V | EN1601 |  |  |  |
| - Ethers (C5 - Higher) | %V/V | EN1601 |  |  |  |
| - Tot Org Bound Oxygen | %M/M | EN1601 |  |  |  |
| Copper content | mg/kg | EN15488 |  |  |  |
| Copper strip 3hrs/50°C | rating | ISO2160 / D130 |  |  |  |
| Density @15°C | kg/m3 | ISO12185 |  |  |  |
| Electric Conductivity | μS/cm | EN 15938 |  |  |  |
| Ethanol content | %M/M | D5501 |  |  |  |
| Ethanol content | %V/V |  |  |  |  |
| Existent gum (washed) | mg/100ml | ISO6246 / D381 |  |  |  |
| Inorganic Chloride | mg/L |  |  |  |  |
| Inorganic Chloride | mg/kg | EN15492 / D7328 |  |  |  |
| Oxidation Stability 1) | minutes | ISO7536 / D525 |  |  |  |
| pHe |  | EN15490 / D6423 |  |  |  |
| Phosphorus | mg/L | EN15487 |  |  |  |
| Sulphur | mg/kg | EN15486 / D5453 |  |  |  |
| Sulphate content | mg/kg | EN15492 / D7328 |  |  |  |
| Water | %M/M | EN15489 |  |  |  |

1) Only report ”>” when above 900 minutes, otherwise report a real breakpoint

(**) please see the letter of instructions

Name of laboratory:	Date of sample receipt:

Country:                                                                                        City:

Name of contact person:                                                                       Date of report:

Instructions to participants for the Interlaboratory Study Biogasoline E85 iis14B04

*	Please confirm sample receipt as soon as you have received and checked the contents of this package, preferably using the fax form that you receive together with this package. Please complete the form and send it to iis (email  iisnl@sgs.com or faxno. + 31 181 694543). When the bottle has been broken, please do not accept the package from the courier. Please note that we will only send replacement bottle at our cost when there is proof of the sample being broken upon receipt. This means that the consignee must report a broken bottle immediately. The consignee should take pictures of how the package and bottle looked upon arrival. We need these pictures to claim costs from the forwarders. The consignee should always mark any damage (dents, rips, leakage etc.) on the outside of the packages on the consignment note from the courier when it is delivered. Even minor damages should be reported. Please send copies of consignment notes and the pictures via email to nl.saman.iis@sgs.com

.

*	Please record the date that the sample was received on the report form.

*	This interlaboratory study concerns one sample of Biogasoline E85 (1 litre bottle of sample #14062). Please treat the sample as if it was a routine sample. It might be wise to start with those tests which are most important to your laboratory, especially if the supplied sample amount seems to be critical for your lab.

*	Report the analytical results using the indicated units on the report form. Report in the last column the analytical results, rounded in accordance with the standard method that was used. Report in the first result column the same analytical results but less rounded (we suggest to report one extra figure) in order to give more meaningful statistical calculations. 	For example, when you use ISO12185 for the determination of density and you found a result of 785.17 kg/m3, we request you to report 785.2 kg/m3 in accordance with ISO12185 and 785.17 kg/m3 as ‘unrounded’ result.

*	On the report form an extra column is added on request of several participants. This column is named: ”reference method”. In this column the method is mentioned, which the Institute for Interlaboratory Studies will use for calculating the z-scores. It is of utmost importance to know that the method, which is mentioned, is NOT mandatory. So when you normally use in day-to-day circumstances an other method than the method prescribed in the ”reference method” column, please use your method and note the actual used method in the ”actual method used” column.

*     	In order to avoid mix-up of test results we have added a box for your laboratory code. Please understand that it is not mandatory to use, but it will facilitate identification of your test results.

*	Please return the completed report form to the Institute for Interlaboratory Studies in Spijkenisse, The Netherlands, preferably one week after sample receipt, but in any case before the indicated closing date: May 23, 2014 (preferably by email).

*	If you have any remarks/questions please contact:

ing. R.J. Starink, Institute for Interlaboratory Studies

P.O. box 200, NL-3200 AE Spijkenisse, The Netherlands

tel.no. + 31 181 69 45 41

fax.no. + 31 181 69 45 43

e-mail: iisnl@sgs.com