Report form for analysis results of sample #14033

ONLY for MERCURY determination 				Report before April 18, 2014

| Determination | Unit | Reference method (**) | Actual method used(**) | Unrounded result #14033 | result #14033 rounded cfr. used standard |
| --- | --- | --- | --- | --- | --- |
| Mercury Determination | = = = = Mercury content (high) = = = = |
| - Mercury as Hg | µg/kg |  |  |  |  |

(**) Please see the letter of  instructions

# How was the sample treated:

- Direct Measurement:_____________________

- Destruction using:_______________________

- Other:   _______________________________

# What calibration was used for quantification:

- Organic standard	type:________________

- Anorganic standard	type:________________

- Other:	type:________________

# Quantification Method:

# A.A.S.

# ICP

# Hg-Hydride

# Other:  _________________________________

Remarks:

Name of laboratory:	Date of sample receipt:

Country:                                                                                        City:

Name of contact person:                                                                       Date of report:

Instructions to participants for the interlaboratory study Naphtha iis14N01Hg

*	Please confirm sample receipt as soon as you have received and checked the contents of this package, preferably using the fax form that you receive together with this package. Please complete the form and send it to i.i.s. (email iisnl@sgs.com or faxno. ++ 31 181 694543). When the bottles have been broken, please do not accept the package from the courier. Please note that we will only send replacement bottles at our cost when there is proof of the sample being broken upon receipt. This means that the consignee must report a broken bottle immediately. The consignee should take pictures of how the package and bottles looked upon arrival. We need these pictures to claim costs from the forwarders. The consignee should always mark any damage (dents, rips, leakage etc.) on the outside of the packages on the consignment note from the courier when it is delivered. Even minor damages should be reported. Please send copies of consignment notes and the pictures via email to nl.saman.iis@sgs.com

*	Please record the date that the samples were received on the report form.

*	This interlaboratory study concerns one sample of Naphtha (1* 0.5 L bottle labelled #14033). Please treat the samples as if they were routine samples. Please note that the Mercury concentration in the sample is higher than 50 µg/kg.

*	Each laboratory is requested to analyse the sample(s) in the way it would normally do in day-to-day circumstances

*	Report the analytical results using the indicated units on the report form. Report in the last column the analytical results, rounded in accordance with the standard method that was used. Report in the first result column the same analytical results but less rounded (we suggest to report one extra significant figure) in order to give more meaningful statistical calculations.

For example, when you use UOP938 for the determination of  Mercury and you found a result of 50.2351 µg/L, we request you to report 50.235 µg/L in accordance with UOP938 and 50.2351 µg/L as ‘unrounded’ result.

# *	On the report forms(s) an extra column is added on request of several participants. This column is named: ”reference method”. In this column the method is mentioned, which the Institute for Interlaboratory Studies will use for calculating the z-scores. It is of utmost importance to know that the method, which is mentioned, is NOT mandatory.

# So when you normally use in day-to-day circumstances another method than the method prescribed in the ”reference method” column, please use your method and note the actual used method in the ”actual method used” column.

*     	In order to avoid mix-up of test results we have added a box for your laboratory code. Please understand that it is not mandatory to use, but it will facilitate identification of your test results.

*	Return the completed report form(s) to the Institute for Interlaboratory Studies at Spijkenisse, The Netherlands, preferably one week after sample receipt, but in any case before the indicated closing date: APRIL 18, 2014 (preferably by email).

*	If you have any remarks/questions please contact:

ing. R.J. Starink, Institute for Interlaboratory Studies

P.O. box 200, NL-3200 AE Spijkenisse, The Netherlands

tel.no. ++ 31 181 694540 or ++ 31 181 694541

fax.no. ++ 31 181 694543

e-mail: iisnl@sgs.com