REPORT FORM A – (iis14P09SM)                          Report before 10th October, 2014

Please take care to use the fixed test conditions as given below!

Predetermined test conditions to be used by the participating laboratories:

| Sample ID | #14181 |
| --- | --- |
| Simulant | 3% Acetic Acid |
| Exposure time | 2.0 hrs |
| Exposure temperature | 100.0 °C |
| Migration method | Total immersion |

Please consider the below questions before reporting your test results.

What test method was used (e.g. EN13130-13): ...............................................................................

Was the simulant preheated before use? ...........................................................................................

Method used to determine the contact surface in dm2:..............................................................

Was the sample pretreated (e.g. cleaned)? If so, how was it treated? ……………………………..

Was the thickness of the sample also used in the surface calculation? ……………………………

Was factor 2 used to double the contact surface in the calculations? ……………………………..

Remarks : …………………………….............................................................................................

Name of laboratory:	Date of sample receipt:

City:	Country:

Name of contact person:	Date of report:

REPORT FORM B – (iis14P09SM)                          Report before 10th October, 2014

| What actual amount of simulant was used for each migration step in ml: | What actual contact surface was used for each migration step in dm2: |
| --- | --- |

1st..............................................................       1st..............................................................

2nd.............................................................       2nd.............................................................

3rd............................................................        3rd.............................................................

| First step results1 | Unit | Minimum no. of digits to use | Result #14181 |
| --- | --- | --- | --- |
| Final concentration of BPA in simulant | mg/l | #.## |  |
| 1st Specific Migration of BPA | mg/dm2 | #.## |  |
| 1st Specific Migration of BPA | mg/kg food | #.## |  |

| Second step results1 | Unit | Minimum no. of digits to use | Result #14181 |
| --- | --- | --- | --- |
| Final concentration of BPA in simulant | mg/l | #.## |  |
| 2nd Specific Migration of BPA | mg/dm2 | #.## |  |
| 2nd Specific Migration of BPA | mg/kg food | #.## |  |

| Third step results1 | Unit | Minimum no. of digits to use | Result #14181 |
| --- | --- | --- | --- |
| Final concentration of BPA in simulant | mg/l | #.## |  |
| 3nd Specific Migration of BPA | mg/dm2 | #.## |  |
| 3nd Specific Migration of BPA | mg/kg food | #.## |  |

(1) Please see the letter of instructions

Name of laboratory:	Date of sample receipt:

City:	Country:

Name of contact person:	Date of report:

# LETTER OF INSTRUCTIONS

- Please confirm sample receipt as soon as you have received and checked the contents of this package, preferably using the fax form that you receive together with this package. Please complete the form and send it to iis (email iisnl@sgs.com or fax no. +31 181 69 4543).

- This interlaboratory study concerns a plastic material that will be used in food industry and therefore the specific migration should be limited. The material will be re-used many times. Each participating laboratory receives one circular plate of this material for determination of the specific migration by total immersion.

- To reduce the number of variables and thus the expected spread in results several test conditions are predetermined, see Report Form A.

- Laboratories are requested to determine and report the specific migration of BPA on food contact by total immersion after each migration step.

- Please report the test method that your laboratory used on Report Form A. When no standardised test method is used, please give a summary of the test method.

- Report your test results on Report Form B in the indicated units mg/l, mg/dm2 and in mg/kg food and using the given minimum number of digits. Also please do not report ‘less than’-results, which are above your detection limit. Results reported as ‘less than’, not detected and nil (or zero) cannot be used for meaningful statistical calculations.

- In order to avoid mix-up of test results we have added a box for your laboratory code. Please understand that it is not mandatory to use, but it will facilitate identification of your test results.

- Please return the completed report forms to iis, the Netherlands, preferably already one week after sample receipt, but in any case before the closing date: 10th October, 2014 (preferably by email).

- If you have any remarks/questions please contact:

ing. R.J. Starink, Institute for Interlaboratory Studies

P.O. box 200, NL-3200 AE Spijkenisse, The Netherlands

tel.no. +31 181 69 4541

fax.no. +31 181 69 4543

e-mail: iisnl@sgs.com