Report to: 	ing. R.J. Starink 						           before October 02, 2015

email iisnl@sgs.com (preferred) or fax.  + 31 181 69 4543

| Determination | Unit | Reference method (**) | Actual method used (**) | Unrounded result #15175 | Result #15175 cfr. used standard |
| --- | --- | --- | --- | --- | --- |
| Acid number | mgKOH/g | D664 |  |  |  |
| Aromatics by FIA(*) | %V/V | D1319 |  |  |  |
| Ash content | %M/M | D482 |  |  |  |
| Calculated Cetane Index, two variables |  | D976 |  |  |  |
| Calculated Cetane Index, four variables1) |  | D4737 |  |  |  |
| Cloud Point | ºC | D2500 |  |  |  |
| CFPP | ºC | D6371 |  |  |  |
| Colour ASTM |  | D1500 |  |  |  |
| Conradson Carbon Residue on 10% distillation residue | %M/M | D189 |  |  |  |
| Ramsbottom Carbon Residue on 10% distillation residue | %M/M | D524 |  |  |  |
| Copper corrosion 3hrs at 50 oC | rating | D130 |  |  |  |
| Density at 15°C | kg/m3 | D4052 |  |  |  |

1) Which formula was used to calculate the Cetanex Index acc. ASTM D4737  :  A  or  B

(*) without oxygenates correction

# (**)Please see the letter of instructions

Report to: 	ing. R.J. Starink 							  before October 02, 2015

email iisnl@sgs.com (preferred) or fax.  + 31 181 69 4543

| Determination | unit | Reference method (**) | Actual method used (**) | Unrounded result #15175 | Result #15175 cfr. used standard |
| --- | --- | --- | --- | --- | --- |
| Distillation at 760 mmHg | Manual or Automated mode ? : A / M 2) |
| - IBP | °C | D86 |  |  |  |
| - 10% recovered | °C | D86 |  |  |  |
| - 50% recovered | °C | D86 |  |  |  |
| - 90% recovered | °C | D86 |  |  |  |
| - 95% recovered | °C | D86 |  |  |  |
| - FBP | °C | D86 |  |  |  |
| - Volume at 250ºC | %V/V | D86 |  |  |  |
| - Volume at 350ºC | %V/V | D86 |  |  |  |
| - % residue | %V/V |  |  |  |  |
| FAME content | %V/V | D7371 |  |  |  |
| Flash Point PMcc | °C | D93 |  |  |  |
| Kinematic viscosity at 40°C | mm2/s | D445 |  |  |  |
| Lubricity by HFRR at 60°C | µm | D6079 |  |  |  |
| Nitrogen | mg/kg | D4629` |  |  |  |
| Pour Point, manual | °C | D97 |  |  |  |
| Pour Point, automated, 3°C interval | °C | D5950 |  |  |  |
| Sulphur | mg/kg | D5453 |  |  |  |
| Water content | mg/kg | D6304 |  |  |  |
| Water and sediment | %V/V | D2709 |  |  |  |
| Water and sediment | %V/V | D1796 |  |  |  |

2) Please circle the correct option

(**)Please see the letter of instructions