Report form A for analysis results of sample #15056 			Before May 15, 2015

| Determination | unit | Reference method (*) | Actual method used (*) | Unrounded test result #15056 | Test result #15056 cfr method used |
| --- | --- | --- | --- | --- | --- |
| Acid Number | mg KOH/g | D664A |  |  |  |
| Base Number | Procedure : A or B 1) |
| -Base Number | mg KOH/g | D2896 |  |  |  |
| Color ASTM |  | D1500 |  |  |  |
| Density at 15°C | kg/m3 | D1298 |  |  |  |
| Flash Point PMcc | Procedure : A or B 1) |
| -Flash Point PMcc | oC | D93 |  |  |  |
| Kinematic viscosity at 40°C | mm2/s |  |  |  |  |
| Kinematic viscosity at 100°C | mm2/s |  |  |  |  |
| Viscosity Index |  | D2270 |  |  |  |
| Water content by KF | mg/kg | D6304 |  |  |  |

*) the reference methods are NOT mandatory! please see the letter of instructions

1) Please circle correct option

Report form B for analysis results of sample #15056 			Before May 15, 2015

| Determination | Unit | Reference method (**) | Actual method used | Unrounded result #15056 | result #15056 rounded cfr. used standard |
| --- | --- | --- | --- | --- | --- |
| Water Separability at 54°C (***) |  |
| - Time to reach 3 ml or less emulsion | min. | D1401 |  |  |  |
| - Time to reach 37 ml of water | min. | D1401 |  |  |  |
| - Time to reach complete break (40-40-0) | min. | D1401 |  |  |  |
| - Test aborted? | YES / NO 1) |
| - volume of oil phase | ml |  |  |  |  |
| - volume of water phase | ml |  |  |  |  |
| - volume of emulsion phase | ml |  |  |  |  |
| Level of Contamination |  |  |  |  |  |
| ≥ 4 μm | ml-1 (*) | ISO4406 |  |  |  |
| ≥ 6 μm | ml-1 (*) | ISO4406 |  |  |  |
| ≥ 14 μm | ml-1 (*) | ISO4406 |  |  |  |

*)    Particles per mL (do not report the ISO class, these results have no statistical value  and the z-scores can not be calculated)

**)  Please see letter of instructions

***) using distilled water

1) 	Please circle correct option