Sample #17580

| Analyte | Unit | Actual method used *) | Unrounded result *) | Rounded result *) |
| --- | --- | --- | --- | --- |
| Pole surface area | mm2 |  |  |  |
| Maximum Flux density | kG2 |  |  |  |
| Magnetic Flux index | kG2mm2 |  |  |  |

# *) Please see the letter of instructions before the start of the analysis (www.kpmd.co.uk/sgs-iis-cts/)

Sample #17581

| Analyte | Unit | Actual method used *) | Unrounded result *) | Rounded result *) |
| --- | --- | --- | --- | --- |
| Pole surface area | mm2 |  |  |  |
| Maximum Flux density | kG2 |  |  |  |
| Magnetic Flux index | kG2mm2 |  |  |  |

# *) Please see the letter of instructions before the start of the analysis (www.kpmd.co.uk/sgs-iis-cts/)

# ANALYTICAL DETAILS **)

# Is your laboratory accredited in accordance with ISO/IEC17025 to for this test?

# 0  	No

# 0    	Yes

- What underlying surface was used during testing of the sample?

___________________________________________________

- What was the sample temperature during testing (in °C)?
____________________________________________________

- What apparatus was used (type/supplier)?
____________________________________________________

- What was the resolution of the apparatus (in Gauss)?
____________________________________________________

- What equipment probe was used?
0	axial type probe
0	other, please specify ________________________________

- What was the active area diameter of the probe (in mm)?
_____________________________________________________

- What was the distance between active area and the probe tip (in mm)?
_____________________________________________________

- Was the sample oriented in a special direction?
_____________________________________________________

- How many times was the sample measured?
0	one time
0 	two times
0 	three times
0 	more than three times

Additional Remarks:

________________________________________________________ 
________________________________________________________

*) Please, complete these questions as much as possible. It can help us to evaluate the results of the proficiency test. Thank you in advance.