Report form for late reported test results of sample #19155

| Determinations | Unit | Reference method *) | Actual method used *) | ’Unrounded’ result *) | ’Rounded’ result cfr. used standard *) |
| --- | --- | --- | --- | --- | --- |
| Copper as Cu | µg/kg | D6732 |  |  |  |
| JFTOT at 260°C |  |  |  |  |  |
| - Visual tube rating (VTR) |  |  |  |  |  |
| - Interferometric tube rating (ITR) | nm |  |  |  |  |
| - Ellipsometric tube rating (ETR) | nm |  |  |  |  |
| - Delta P/Pressure drop | mmHg |  |  |  |  |
| - Time to reach 25 mm Hg | minutes |  |  |  |  |
| - Pumped fuel volume | ml |  |  |  |  |
| - Heater tube control temp. | °C |  |  |  |  |
| JFTOT:Evaluation of the sample: | Pass or Fail **) |

*)  Please see the letter of instructions before start of the tests at www.kpmd.co.uk/sgs-iis/

**) Please circle the right option