Report form for late reported test results of sample #20050

| Determination | Unit | Reference method *) | Actual method used *) | ’Unrounded’ result *) | ’Rounded’ result cfr. used standard *) |
| --- | --- | --- | --- | --- | --- |
| Acid Value | mg KOH/g | EN14104 |  |  |  |
| Acid Number (total) | mg KOH/g | D664-B |  |  |  |
| Cloud Point | °C | D2500 |  |  |  |
| Cold Filter Plugging Point (CFPP) | °C | EN116 |  |  |  |
| Carbon Residue on 100% sample | %M/M | D4530 |  |  |  |
| Copper Corrosion 3 hrs at 50°C |  |  |  |  |  |
| Density at 15°C | kg/m3 | ISO12185 |  |  |  |
| Flash Point (PMcc) | Method used: A / B / C **) |
| Flash Point PMcc | °C | D93-C |  |  |  |
| Flash Point recc | °C | ISO3679 |  |  |  |
| Iodine Value | g I2/100 g | EN14111 |  |  |  |
| Kinematic Viscosity at 40°C | mm2/s | ISO3104 |  |  |  |
| Oxidation Stability Induction period | hours | EN15751 |  |  |  |
| Pour Point | °C | ISO3016 |  |  |  |
| Sulfated Ash | %M/M | D874 |  |  |  |
| Sulfur | mg/kg | ISO20846 |  |  |  |
| Water | mg/kg | ISO12937 |  |  |  |
| Water and Sediment | %V/V | D2709 |  |  |  |
| Heating values |
| - Calorific Value Gross at constant volume (H o,v) | kJ/kg | DIN51900-1 |  |  |  |
| - Calorific Value Net at constant volume (H u,v) | kJ/kg |  |  |  |  |
| - Calorific Value Net at constant pressure (H u,p) | kJ/kg |  |  |  |  |
| Distillation performed at 10 mmHg ***) |
| - 80% recovered as AET | °C | D1160 |  |  |  |
| - 90% recovered as AET | °C | D1160 |  |  |  |
| - 95% recovered as AET | °C | D1160 |  |  |  |

*)	Please see the letter of instructions before start of the tests at www.kpmd.co.uk/sgs-iis/

**)	Please circle the right option

***)	Please, perform the distillation as near to 10 mmHg as possible and calculate all temperatures to 760 mmHg (AET = atmospheric equivalent temperatures)

Report form for late reported test results of sample #20050 (continued)

| Determination | Unit | Reference method *) | Actual method used *) | ’Unrounded’ result *) | ’Rounded’ result cfr. used standard *) |
| --- | --- | --- | --- | --- | --- |
| Methanol | %M/M | EN14110 |  |  |  |
| Monoglycerides | %M/M | EN14105 |  |  |  |
| Diglycerides | %M/M | EN14105 |  |  |  |
| Triglycerides | %M/M | EN14105 |  |  |  |
| Free Glycerol | %M/M | EN14105 |  |  |  |
| Total Glycerol | %M/M | EN14105 |  |  |  |
| Total Ester content (FAME) | %M/M | EN14103 |  |  |  |
| Linolenic Acid Methyl Ester | %M/M | EN14103 |  |  |  |
| Polyunsaturated (more or 4 double bonds) Methyl Esters | %M/M | EN15779 |  |  |  |

*)	Please see the letter of instructions before start of the tests at www.kpmd.co.uk/sgs-iis/