Report form A	Report before April 4, 2014

| Component | C.I.-No. | CAS-No. | Result #14023 in mg/kg (**) | Result #14024 in mg/kg (**) |
| --- | --- | --- | --- | --- |
| Disperse Blue 1 | 64 500 | 2475-45-8 |  |  |
| Disperse Blue 3 | 61 505 | 2475-46-9 |  |  |
| Disperse Blue 7 | 62 500 | 3179-90-6 |  |  |
| Disperse Blue 26 | 63 305 | 3860-63-7 |  |  |
| Disperse Blue 35 |  | 12222-75-2 |  |  |
| Disperse Blue 102 |  | 12222-97-8 |  |  |
| Disperse Blue 106 |  | 12223-01-7 |  |  |
| Disperse Blue 124 |  | 61951-51-7 |  |  |
| Disperse Brown 1 | 11 152 | 23355-64-8 |  |  |
| Disperse Orange 1 | 11 080 | 2581-69-3 |  |  |
| Disperse Orange 3 | 11 005 | 730-40-5 |  |  |
| Disperse Orange 76 = 37 | 11 132 | 13301-61-6 |  |  |
| Disperse Red 1 | 11 110 | 2872-52-8 |  |  |
| Disperse Red 11 Disperse | 62 015 | 2872-48-2 |  |  |
| Disperse Red 17 | 11 210 | 3179-89-3 |  |  |
| Disperse Yellow 1 | 10 345 | 119-15-3 |  |  |
| Disperse Yellow 3 | 11 855 | 2832-40-8 |  |  |
| Disperse Yellow 9 | 10 375 | 6373-73-5 |  |  |
| Disperse Yellow 39 |  | 12236-29-2 |  |  |
| Disperse Yellow 49 |  | 54824-37-2 |  |  |

# (**) Please do not round the test results, please see the letter of  instructions.

Name of laboratory:                                                                                Date of sample receipt:

City:                                                                                                        Country:

Name of contact person:                                                                          Date of report:

# Report form B 	                                                              Report before April 4, 2014

# Which analysis method was followed (Name of official method / in house method): ______________

# Please list below the calibration standard data per standard that was used:

| Calibration std. | Brand | Batch/Lot no | Concentration | Powder/ Solution |
| --- | --- | --- | --- | --- |

# Example

| Disperse Red | Dr. Ehrerstorfer | C12972264 | 87% | Solid |
| --- | --- | --- | --- | --- |
| Disperse Red | Accustandard DYE-007S | xxx12334 | 100 µg/ml | Solution |

# Remarks:

Name of laboratory:                                                                             Date of sample receipt:

City:                                                                                                     Country:

Name of contact person:                                                                       Date of report:

INSTRUCTIONS TO PARTICIPANTS

- Please confirm sample receipt as soon as you have received and checked the contents of this package, preferably using the fax form that you receive together with this package. Please complete the form and send it to i.i.s. by email (iisnl@sgs.com) or (faxno. + 31 181 69 4543).

- Record the date that the samples were received also on the report forms (A and B).

- This interlaboratory study concerns 2 different samples of textiles (#14023 and #14024) for determination of disperse dyes classified as allergenic. You receive for sample #14023 approx. 3 grams and for sample #14024 approx. 1.5 grams. The weight for #14024 is less due to the limited amount of sample available. Please note that the samples have been selected to be positive, so determination should be possible, even when a smaller amount of sample is used.

- Please treat the samples as if they were routine samples. Do not analyze separate colours (!) if present This may be different as your laboratory is used, but for good comparison we ask you to treat each sample as if it is a single coloured material.

- Report the analytical results using the indicated units on the report form. Do not round the results, but report as much significant figures as possible. Also do not report ‘less than’ results which are above your detection limit. Results reported as ‘less than’ cannot be used for meaningful statistical calculations.

- Please complete the report forms A & B with the requested details of the analysis performed.

- In order to avoid mix-up of test results we have added a box to this form for your laboratory code. Please understand that it is not mandatory to use, but it will facilitate identification of your test results.

- Return the completed report forms A and B to the Institute for Interlaboratory Studies at Spijkenisse, The Netherlands, preferably one week after sample receipt, but in any case before the indicated closing date: APRIL 4, 2014 preferably by email, see http://www.iisnl.com to download a report form (word document) from the section “news&reports”.

- If you have any remarks/questions please contact:

ing. R.J. Starink,

Institute for Interlaboratory Studies

P.O. box 200,

NL-3200 AE Spijkenisse,

the Netherlands

tel. no. +31 181 69 45 41

fax no. +31 181 69 45 43

email: iisnl@sgs.com