Report form A	Report before February 28, 2014

Sample #14501:

|  | Unit | Actual test method used (**) | Unrounded Results of #14501 | Rounded Results of #14501 |
| --- | --- | --- | --- | --- |
| Chromium (VI) | mg/kg |  |  |  |

Sample #14502:

|  | Unit | Actual test method used (**) | Unrounded Results of #14502 | Rounded Results of #14502 |
| --- | --- | --- | --- | --- |
| Chromium (VI) | mg/kg |  |  |  |

# (**) Please see the letter of  instructions

Name of laboratory:	Date of sample receipt:

Country:                                                                                        City:

Name of contact person:                                                                Date of report:

Report form B                                             Report before February 28, 2014

# ANALYTICAL DETAILS Chromium (VI) determination

# Were the samples grinded or cut before analysis?..................................................................................

# What was the final estimated particle size before use?..........................................................................

# What extraction solvent was used?..........................................................................................................

# Were the extraction solutions degassed?                 YES   /     NO

# When Yes by:      Argon,  Nitrogen or  Other...........................................................................................

# What was the extraction time?...............................................................................................................

# What was the pH of each solution after extraction? Sample 14501.........................................................

# Sample 14502.........................................................

# Which analysis technique was used?    Spectrophotometer    /    Filterphotometer /  Other.....................

# When Spectrophotometer or Filterphotometer what cell length was used in cm.....................................

# Was the recovery checked:   YES   /     NO

# When Yes, what were the recoveries?  Sample 14501........................................................................

# Sample 14502........................................................................

# __________________________________________________________________________________

Please complete this sheet as much as possible, it can help to draw conclusions during the evaluation

Name of laboratory:	Date of sample receipt:

Country:                                                                                        City:

Name of contact person:                                                                Date of report:

# INSTRUCTIONS TO PARTICIPANTS

- Please confirm sample receipt as soon as you have received and checked the contents of this package,   preferably using the fax form that you receive together with this package. Please complete the form and send it to i.i.s.  by email iisnl@sgs.com  or faxno. ++ 31 181 69 4543.

- This interlaboratory study concerns 2 samples of leather (nos. #14501 and #14502) for determination of Chromium (VI). You received approx. 5 grams of each sample. Please treat the samples as if they were routine samples and analyse them in the way you would normally do in day-to-day circumstances

- Each laboratory is requested to analyse the sample in the way it would normally do in day-to-day circumstances.

- Report the analytical results using the indicated units on the report form. Report in the last column the analytical results, rounded in accordance with the test method that was used. Report in the first result column the same analytical results but less rounded (we suggest to report one extra significant figure) in order to give more meaningful statistical calculations. Also, do not report ‘less than’-results which are above your detection limit. Results reported as ‘less than’ cannot be used for meaningful statistical calculations.

- Please report the method used on the report form. If no Standard method is used, report the reference number of the 'in house' method that was used.

- Complete the report form B with the requested details of the analysis performed.

- In order to avoid mix-up of test results we have added a box for your laboratory code. Please understand that it is not mandatory to use, but it will facilitate identification of your test results.

- Please return the completed report forms to the Institute for Interlaboratory Studies in Spijkenisse, the Netherlands, preferably one week after sample receipt, but in any case before the indicated closing date: February 28, 2014 (preferably by email).

- If you have any remarks/questions please contact:

ing. R.J. Starink

the Institute for Interlaboratory Studies

P.O. box 200, NL-3200 AE Spijkenisse, The Netherlands

Tel.no. ++ 31 181 69 45 41

Fax.no. ++ 31 181 69 45 43

e-mail: iisnl@sgs.com