Instructions to participants for the interlaboratory study APEO in textile iis16A04

*	Please confirm sample receipt as soon as you have received and checked the contents of this package, preferably using the sample receipt confirmation form that you received together with this package.

Please complete the form and send it to iis (email iisnl@sgs.com or faxno. + 31 181 694543).

*	This interlaboratory study concerns 2 different samples of textile, sample #16530 (purple cotton, treated with Triton X-100 (Octyl Phenol Ethoxylate)) and sample #16531 (brown cotton, treated with Triton N-57 (Nonyl Phenol Ethoxylate). Both samples are meant for the determination of Alkylphenol ethxoylates (APEO). You can check the result entry website mentioned below for the test scope. You received approx. 3 grams of each sample.

*	Please treat the samples as if they were routine samples and analyse them in the way you normally do in day-to-day circumstances.

*	Please report your test results via www.kpmd.co.uk/sgs-iis-cts/. Login details have been sent to you, but also can be requested via an email to iisnl@sgs.com.

# *	For the determination of Alkylphenol ethoxylates in textile, methods ISO18218-1 or -2 could be used as reference methods, however the scope of these methods describes the determination of APEO in Leather. It is of utmost importance to know that it is NOT mandatory to use ISO18218-1 or -2 as test method. Please use the method you normally (routinely) use and select in the column ”Actual Method Used” the selection “Other” and write the method that you used in the comments.

*	Please report the analytical results using the indicated units. Report in the column the analytical results, analytical results less rounded than mentioned in the standard (we suggest to report one or two extra significant figure) in order to give more meaningful statistical calculations. For example, when you find a result of 57.2153 mg/kg for NPEO, we request you to report 57.2153 mg/kg as ‘unrounded’ result and 57.2 or 57 mg/kg as ”rounded” result.

* 	To get more background of the analytical method we asked some additional questions. Please, complete these questions as much as possible. It will help us to evaluate the results of the proficiency test. Thank you in advance.

*	Within a time frame of 5 weeks test results can be entered or revised. It is not needed to enter all test results in one session. Within this period you can add (or delete) test results and/or change test results or units. Please do not forget to save your results.

*	The official closing date for reporting test results for this PT is April 15, 2016.

*	After the official closing date it is no longer possible to enter or correct test results via the data entry website www.kpmd.co.uk/sgs-iis-cts/. However, it is still possible to download the instructions from our internet site www.iisnl.com. In the case you cannot report for unforeseen reasons before the closing date, please send an email to iisnl@sgs.com.

*	If you have any remarks/questions please contact:

ing. R.J. Starink, Institute for Interlaboratory Studies

P.O. box 200, NL-3200 AE Spijkenisse, The Netherlands

tel.no. +31 181 69 45 41

fax.no. +31 181 69 45 43

e-mail: iisnl@sgs.com

website: www.iisnl.com