Report form for late reported test results of **sample #23003**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Determination | Unit | Reference method \*) | Actual method used \*) | UnroundedResult \*) | Roundedresult*cfr.* used standard \*) |
| Appearance |  |  |  |  |  |
| Carbonyls | µg/g | E411 |  |  |  |
| Density at 15 °C | kg/L | D4052 |  |  |  |
| Refractive Index at 20 °C |  | D1218 |  |  |  |
| Water | mg/kg | E1064 |  |  |  |
| Purity by GC on dry basis | %M/M | D5441 |  |  |  |
| Methanol | %M/M | D5441 |  |  |  |
| Diisobutylene (= sum 5 DIB’s) | %M/M |  |  |  |  |
| 2,4,4-Trimethyl-1-pentene | %M/M | D5441 |  |  |  |
| 2,4,4-Trimethyl-2-pentene | %M/M |  |  |  |  |
| 2,3,4-Trimethyl-2-pentene | %M/M |  |  |  |  |
| 3,4,4-Trimethyl-1-pentene | %M/M |  |  |  |  |
| 3,5-Dimethyl-1-hexene | %M/M |  |  |  |  |
| tert-Butanol | %M/M | D5441 |  |  |  |
| Hydrocarbons C4 | %M/M | D5441 |  |  |  |
| Hydrocarbons C5 | %M/M | D5441 |  |  |  |
| Other impurities | %M/M |  |  |  |  |

\*) Please see the letter of instructions before the start of the tests at [www.kpmd.co.uk/sgs-iis/](http://www.kpmd.co.uk/sgs-iis/)